# Assessment Requirements for MSL974009 Undertake field-based, remote-sensing monitoring

Release: 1

Assessment Requirements for MSL974009 Undertake field-based, remote-sensing monitoring

# Modification History

Release 1. Supersedes and is equivalent to MSL974009A Undertake field-based, remote-sensing monitoring

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

organising and safely undertaking defined field-based, remote-sensing monitoring activities on at least two (2) occasions

accurately identifying and interpreting statutory requirements

safely undertaking reconnaissance and evaluating monitoring sites

confirming type, quantity and quality of data needed for defined monitoring activities

safely packaging and transporting supplies, equipment and instruments into the field

identifying and establishing a secure field monitoring site according to defined criteria

assembling, testing and closing down a field-based, remote-sensing monitoring system on-site

performing calibration and pre-use checks and maintaining equipment and systems in accordance with workplace procedures

operating the monitoring system to collect and store reliable data in accordance with workplace and data quality procedures

communicating effectively and efficiently with staff and other relevant parties and negotiating satisfactory agreements

responding effectively to changed or unforeseen circumstances

recognising hazards and risks and following all safety and environmental requirements.

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

terminology, protocols and statutory requirements relevant to field-based environmental monitoring activities conducted as part of job role

purpose and objectives of the monitoring activities conducted as part of job role, including:

information and analysis required

end users of information

significance of outcomes for broader programs

operating principles, technical capabilities and limitations of remote-sensing equipment and instruments used

basic fault identification and rectification procedures for field instruments and monitoring system

data quality, data storage, analysis and presentation procedures

workplace and/or legal traceability requirements

hazards and risks associated with field-based, remote-sensing monitoring

field-based work health and safety (WHS) requirements, emergency plans and environmental requirements.

# Assessment Conditions

Judgment of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event.

This unit of competency is to be assessed in the workplace or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

MSL935004 Maintain instruments and equipment

Holistic assessment methods include:

review of data and results obtained by the candidate

feedback from supervisors and peers about the candidate’s performance in the field

observation of the candidate assembling, conducting calibration and pre-use checks and operating a field-based, remote-sensing monitoring system on-site to collect and store reliable data

review of the candidate’s response to simulation exercises, such as accident and emergency situations, and/or checking and testing equipment

oral and/or written questions covering specifications, requirements, workplace procedures and equipment/instruments used for monitoring activities conducted as part of job role.

Access is required to instruments, equipment, materials, workplace documentation, procedures and specifications associated with this unit, including, but not limited to:

work program, workplace procedures covering safety and risk assessment, first aid, survival and emergency procedures, environmental requirements, codes of practice and field protocols

vehicles, monitoring and communication equipment, consumables and manuals.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competence and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience.

Currency can be demonstrated through:

performing the competency being assessed as part of current employment OR

having consulted with a laboratory about performing the competency being assessed within the last twelve months.

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/