# Assessment Requirements for MSL974017 Prepare, standardise and use solutions

Release: 1

Assessment Requirements for MSL974017 Prepare, standardise and use solutions

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL974001 Prepare, standardise and use solutions. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

prepared and effectively standardised at least 3 different solutions in accordance workplace procedures and/or standard methods

selected and used primary and secondary standards and indicators

determined equivalence points using indicators and graphical methods.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

concepts of metrology, including:

all measurements are estimates

precision, accuracy and significant figures

sources of error, uncertainty and repeatability

traceability

scientific terminology for different types of solutions

the chemistry of acids, bases, buffers and redox reactions

chemical symbols and atomic mass

formulae for calculating concentration % w/w, % w/v, % v/v, ppm (mg/L)

moles and molarity

what affects solubility

reactions used for standardisation and desirable characteristics

function and use of basic laboratory equipment

grades of glassware, reagents and their use

established safe work practices:

use of PPE, such as safety glasses, gloves and coveralls

correctly labelling reagents and hazardous materials

handling and storing hazardous material and equipment in accordance with labels, SDS, manufacturer instructions, and workplace procedures and regulations

regular cleaning and/or decontamination of equipment and work areas

prompt clean-up of spills in accordance workplace procedures

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate reagents and equipment to prepare and standardise solutions, such as pH meters; balances; magnetic stirrers, water baths and hot plates; measuring cylinders, beakers, conical flasks, volumetric flasks, pipettes and burettes; filter papers and funnels; and fume cupboards

standard methods and workplace procedures

containers and storage facilities.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa