# Assessment Requirements for MSL974022 Undertake environmental field-based monitoring

Release: 1

Assessment Requirements for MSL974022 Undertake environmental field-based monitoring

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL974007 Undertake environmental field-based monitoring. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

organised and undertaken at least 1 field monitoring program to accurately determine physical and chemical parameters, or

observed and accurately documented at least 1 biological and ecological system.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

understanding of the purpose and objectives of field activities, such as information and analysis required, end users of information, and significance of outcomes for broader programs

application of risk assessment to work programs and field activities

technical capabilities and limitations of equipment and instruments used in field activities

purpose of field monitoring activities:

single or multiple site sampling and monitoring, routine monitoring of physical/chemical parameters

biological/ecological surveys

requirement to comply with legislation, regulations or standards, industry sampling or monitoring protocols or codes of practice

common issues and problems that may occur when organising and conducting field activities:

loss or failure of equipment

failure to bring critical equipment

communication failure/difficulties

unexpected restriction access to site

unforeseen environmental impacts

contact with hazardous wastes.

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

equipment required for field activities: vehicles, navigation and communication equipment; survey and/or testing equipment, sampling equipment, containers, safety equipment and consumables

work program, workplace procedures, codes of practice and field protocols and manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa