# Assessment Requirements for MSL974023 Capture and manage scientific images

Release: 1

Assessment Requirements for MSL974023 Capture and manage scientific images

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL974008 Capture and manage scientific images. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

captured and delivered accurate and reproducible images of at least 5 scientific subjects using a scientific approach and workplace procedures/protocols to ensure the integrity of the images.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

workplace policies and procedures for capturing and managing scientific images

repercussions of manipulation of images and differences between adjustment and manipulation

scientific approach and protocols to ensure integrity of images

scientific imaging techniques:

photographic (digital, transparencies and prints)

video

other non-visible light sources, such as ultraviolet (UV) light, fluorescence and phosphorescence

direct transformation from images to data, such as reading of DNA sequencing gels

X-ray and auto-radiations

micrographs and electron micrographs

purpose of the image:

publication as a thesis

presentation on the web

temporal serial recording of changes over time

display as a poster, diorama, print or projection

preview, snapshot or proof of an image for production at a later stage

records of data for inclusion in databases

use in forensic investigation or court proceedings

veracity of different types of storage media

ethical and legal work practices:

industry codes of practice, contracts, permits, intellectual property (IP), crediting, plagiarism and copyright

moral rights, model release, etiquette, decorum and sensitivity towards the subject, and confidentiality

production of images:

sending images for processing

processing the images

use of commercial software

storage of records:

the brief, technical specifications and images

file management (back-ups, data retrieval and storage)

paper-based, electronic or digital

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

facilities, equipment (e.g. lighting, backdrops, camera systems and accessories) and materials required for image capture

workplace procedures, equipment manuals, industry catalogues and journals

job requirements, specifications and/or briefs, and records.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa