# Assessment Requirements for MSL974026 Perform tests to determine the properties of construction materials

Release: 1

Assessment Requirements for MSL974026 Perform tests to determine the properties of construction materials

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL974012 Perform tests to determine the properties of construction materials. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely prepared at least 3 different construction material laboratory samples or test pieces and conducting multi-stage tests on them to determine their properties, including:

accurately interpreting client’s test requests, test methods, workplace procedures and safety information.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

relationship between properties and uses of construction materials

details of construction materials test methods routinely used in job role, including:

purpose and principles of test

relationship between the properties and uses of construction materials

sample preparation procedures

key treatment/measurement stages

calculation steps to give results in appropriate units and precision

expected values for sample type

sources of uncertainty and methods for their control

principles and concepts underpinning the test method

principles and concepts related to equipment/instrument operation and testing, including the function of key components and effects on test of modifying variables

pre-use checks and operating procedures for test equipment/instruments routinely used in job role

basic equipment/method troubleshooting procedures

common tests

typical samples and test pieces:

samples of aggregates, soil, rock, concrete, road pavement and binders

disturbed and undisturbed samples

corrective actions

procedures for ensuring traceability of samples, test pieces, test data and results

procedures for recording and reporting test results, calculations, test observations and unexpected or atypical results and equipment problems

confidentiality requirements

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

sample preparation and test equipment and materials specified in the test method

test methods and description of test set-up, data sets and technical/administrative records, and workplace procedures

calculator and/or computer and relevant software or laboratory information system.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa