# Assessment Requirements for MSL974031 Prepare, standardise and use solutions

Release: 1

Assessment Requirements for MSL974031 Prepare, standardise and use solutions

# Modification History

Release 1. Supersedes and equivalent to MSL974017 Prepare, standardise and use solutions. Changes to Performance Criteria to remove requirements in relation to primary and secondary standards and indicators, equivalence points using indicators and graphical methods. Graphical methods removed from Foundation Skills. Superfluous terminology item removed from Knowledge Evidence and detail reduced in Assessment Conditions.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

prepared and standardised at least 3 different solutions in accordance with workplace procedures.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

chemical symbols and atomic mass

scientific terminology for different types of solutions

what affects solubility

formulae for calculating concentration % w/w, % w/v, % v/v, ppm (mg/L)

moles and molarity

the chemistry of acids, bases, buffers and redox reactions

concepts of metrology, including:

all measurements are estimates

precision, accuracy and significant figures

sources of error, uncertainty and repeatability

traceability

reactions used for standardisation and desirable characteristics

function and use of basic laboratory equipment

grades of glassware, reagents and their use

established safe work practices, including:

use of personal protective equipment (PPE)

correctly labelling reagents and hazardous materials

handling and storing hazardous material and equipment in accordance with labels, safety data sheets (SDS), manufacturer instructions, and workplace procedures and regulations

regular cleaning and/or decontamination of equipment and work areas

prompt clean-up of spills in accordance workplace procedures

awareness of environmental sustainability issues as they relate to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate reagents and equipment to prepare and standardise solutions

containers and storage facilities

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa