# Assessment Requirements for MSL974032 Perform chemical tests and procedures

Release: 1

Assessment Requirements for MSL974032 Perform chemical tests and procedures

# Modification History

Release 1. Supersedes and equivalent to MSL974019 Perform chemical tests and procedures. Element 7 integrated into Element 5. Minor changes to Performance Criteria. Minor refinements in Knowledge Evidence to provide guidance about scope and depth of knowledge required.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely performed at least 3 different multi-step chemical tests including at least 1 of the following:

colorimetric techniques

spectrometric techniques

chromatographic techniques

electrochemical techniques

electrophoretic techniques

soil testing techniques

gravimetric analysis

titrimetric analysis

filtration, separation and solvent extraction techniques

corrosion testing, cement content and accelerated weathering.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

basic aspects of chemical principles and concepts, including:

elements, compounds, ions, atoms, molecules, bonding and links to chemical properties

periodic table and system for symbols of elements

atomic mass and molecular weight

moles and molarity

chemical formulae and balancing equations

chemical reactions

energy levels and absorption/emission spectra

purpose and principles of tests and/or procedures performed as part of job role

international system of units (SI)

principles and concepts related to equipment and instrument operation, tests and/or procedures

requirements for cleaning up spills and reporting faulty or unsafe equipment, hazards and incidents.

concepts of metrology, including:

all measurements are estimates

precision, accuracy and significant figures

sources of error, uncertainty and repeatability

traceability

function of key components of the equipment and instrument and reagents and effects of modifying equipment and instrument variables

common causes of analytical errors

calibration requirements and basic equipment and method troubleshooting procedures

sample preparation procedures for the tests and/or procedures conducted

traceability requirements

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate sample preparation and test equipment, instruments, standards and reagents

records, including test and calibration results; equipment use, maintenance and servicing history, and faulty or unsafe equipment

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa