# MSL974036 Process body fluid specimens using a point of care testing device

Release: 1

MSL974036 Process body fluid specimens using a point of care testing device

# Modification History

Release 1.  Supersedes and is not equivalent to MSL974030 Process body fluid specimens using a point of care testing device. Scope broadened to include other manual devices. Minor changes to Performance Criteria.

# Application

This unit describes the skills and knowledge required to complete pre-analytics, analyse body fluid specimens, record results and maintain a point of care testing (PoCT) device.

This unit applies to operators who follow workplace procedures and apply quality systems to analyse body fluid specimens after the initial collection process. It is relevant to operators working directly with clients and those working in laboratories. The unit relates to diagnostic PoCT devices that provide an electronic read-out such as those used for measuring glucose, blood gases and haematological or biochemical parameters as well as devices used for toxicology, dipstick, test strip or lateral flow testing and other simple manual devices.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Pre-requisite Unit

Nil.

# Competency Field

Testing

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Complete pre-analytics | 1.1 Confirm correct patient identification in accordance with workplace procedures 1.2 Identify collection method and confirm specimen type has been approved for testing based on manufacturer requirements and workplace procedures 1.3 Recognise and reject specimens that do not meet specimen quality requirements |
| 2. Prepare and operate PoCT device | 2.1 Prepare PoCT device for operation in accordance with workplace procedures 2.2 Follow workplace procedures for traceability of operator and patient 2.3 Maintain test integrity through appropriate handling of consumables 2.4 Perform tests in accordance with workplace procedures and personal protective equipment (PPE) requirements for infection prevention 2.5 Dispose of waste in accordance with workplace procedures 2.6 Identify and troubleshoot result flags and errors in accordance with workplace procedures 2.7 Identify and report device errors that are outside area of responsibility and refer to designated person, providing relevant supporting information |
| 3. Review and document results | 3.1 Review results against reference intervals and reportable range 3.2 Identify abnormal, clinically urgent and erroneous results, taking action in accordance with workplace procedures 3.3 Accurately record results in accordance with workplace procedures |
| 4. Maintain device readiness | 4.1 Clean and decontaminate devices in accordance with workplace procedures 4.2 Identify, address and document minor device maintenance tasks in accordance with workplace procedures 4.3 Identify stock stability and storage requirements, taking any actions that result in maintenance of stock availability and integrity 4.4 Perform routine quality-control tests in accordance with workplace procedures |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

Foundation skills essential to performance are explicit in the performance criteria of this unit.

# Unit Mapping Information

No equivalent unit.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa