# Assessment Requirements for MSL975002 Perform haematological tests

Release: 1

Assessment Requirements for MSL975002 Perform haematological tests

# Modification History

Release 1. Supersedes and is equivalent to MSL975002A Perform haematological tests

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

safely performing at least five (5) haematological tests or procedures to determine levels, function, activity and interactions of cellular and plasma components of blood

accurately counting and measuring blood cells

deriving cell data to assist with classification of cell populations

staining cells, identifying their morphology and classifying them

determining the amount and function of blood components, such as haemoglobin

measuring clinically phenomena, such as the erythrocyte sedimentation rate or detecting markers of immune response

assessing haemostasis by performing coagulation, fibrinolysis and thrombosis tests

preparing documentation that is accurate, concise and in accordance with workplace requirements

managing and organising work to ensure the timely completion of tasks

critically analysing information and documents and recognising problems in systems and documentation

using workplace information systems efficiently

using samples, reagents and materials economically and disposing of wastes safely

maintaining security and confidentiality of all clinical information, laboratory data and records

maintaining equipment and recording and reporting malfunctions in accordance with workplace requirements.

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

scientific, medical, clinical, technical and workplace terminology relevant to normal and abnormal haematology, including anatomy, physiology, genetics, biochemistry and immunology

the investigation of blood cell disorders, including anaemia, leucocytosis, leucocytopaenias, leukaemia and thrombocytopenia

heritable and acquired coagulopathies and therapeutic drug-related alterations in haemostatic and coagulation mechanisms

haematological responses to infection, immunisation and malignancy

necessity for a patient or client focus when performing laboratory procedures and tests, including issues of confidentiality and security of clinical and laboratory information and data

relationships that exist between the sample and the test result, including:

sample collection

the preservation and timely testing of samples

sample storage requirements and issues of artefact

sub-sampling routines, including the nature of unstable particulate suspensions

validated tests

quality control

quality assurance

use and maintenance of laboratory equipment and resources that contribute to accurate, precise, timely and economical generation of data for use by clinicians

relevant hazards, work health and safety (WHS) and environment requirements.

# Assessment Conditions

Judgment of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event.

This unit of competency is to be assessed in the workplace or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

MSL925001 Analyse data and report results

MSL934002 Apply quality system and continuous improvement processes

Holistic assessment methods include:

review of results/data/records generated by the candidate

feedback from peers and supervisors that the candidate follows workplace procedures consistently and that tasks are performed in accordance with workplace requirements

oral and/or written tests and paper problems associated with haematological test methods and laboratory processes, such as equipment calibration and maintenance

observation of the candidate performing haematological tests

integrated assessment with a case study focus, such as:

performance of the routine full blood count, including the examination of the stained blood film

a coagulation screen, including tests to measure anti-vitamin K and anti-heparin therapeutic agents, and the counting of platelets

studies that can assist in identifying relationships between quantitative data from blood counts and morphological findings from stained blood films.

Access is required to instruments, equipment, materials, workplace documentation, procedures and specifications associated with this unit, including, but not limited to:

a standard haematology laboratory with relevant equipment, samples and reagents, laboratory information system, databases and record/filing system

instruments for the semi-automated or automated electronic counting and partial characterisation of blood cells, the measurement of haemoglobin and the computation of red cell indices

workplace procedures, test methods and equipment manuals.

Under duty of care requirements, off-the-job training providers should ensure that blood samples are known to be antibody free for hepatitis B and C, syphilis and human immunodeficiency virus (HIV). However, this does not reduce the need for universal precautions in the use of samples.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competence and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience.

Currency can be demonstrated through:

performing the competency being assessed as part of current employment OR

having consulted with a laboratory about performing the competency being assessed within the last twelve months.

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/