# Assessment Requirements for MSL975007 Supervise sampling, inspections and testing at construction sites

Release: 1

Assessment Requirements for MSL975007 Supervise sampling, inspections and testing at construction sites

# Modification History

Release 1. Supersedes and is equivalent to MSL975007A Supervise sampling, inspections and testing at construction sites

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

supervising and directing the placement of materials, such as soil, concrete and asphalt, at a construction site on at least two (2) occasions

interpreting site plans, project specifications and codes to determine level of supervision and resources required, hazards, sampling/testing locations and frequencies

liaising with site superintendent to establish safe and efficient on-site operations, organise site induction and/or inspect the site

designing an inspection, sampling and testing program in accordance with specifications

supervising the safe set-up, use, cleaning and removal of equipment from the site and the minimisation, collection and disposal of waste

safely directing sampling and testing in accordance with inspection and testing plans and remit of samples for testing as required

recording and storing reliable data, observations and project information, including accurate sketches and photographs of site features

accurately interpreting test results and observations in the field to provide timely advice for construction personnel

recognising, troubleshooting and rectifying obvious errors and unexpected results

communicating and resolving site problems constructively with appropriate personnel

seeking advice about problems beyond technical competence from appropriate personnel

comparing test results with specifications and drawing valid conclusions on compliance

issuing a final report that clearly sets out the supervision and testing carried out, statement of compliance, site results and other relevant project information

maintaining accurate, complete and secure project records

maintaining the confidentiality of client information

working safely, promoting site safety and minimisation of environmental impacts.

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

principles of planning and project management

identification and classification of construction materials

engineering properties of civil construction materials

techniques and plant and equipment used in civil construction relevant to job role

in situ and laboratory test methods for construction materials relevant to job role

roles and responsibilities for different levels of site supervision

typical site problems and recommended corrective actions

typical hazards at construction sites, relevant work health and safety (WHS) and environment requirements.

# Assessment Conditions

Judgment of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event. The timeframe must allow for adequate assessment of operation under all normal and a range of abnormal conditions.

This unit of competency is to be assessed in the workplace or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

MSL915001 Provide information to customers

MSL915002 Schedule laboratory work for a small team

MSL925001 Analyse data and report results

Holistic assessment methods include:

review of inspection, sampling and testing programs, test results, analysis, project reports and records completed by the candidate

feedback from clients, supervisors and/or peers about the candidate’s ability to supervise sampling, inspections and testing at sites safely, efficiently and in accordance with relevant codes and client instructions

review of the candidate’s responses to simulation and/or a range of case studies/scenarios dealing with issues such as safety, minimising environmental impacts and resolving site problems

observation of the candidate supervising on site sampling, inspection and testing tasks

oral or written questioning about the preparation and establishment of site operations and supervision of material placement, including technical details of the collection and analysis of data, resolution of common site problems and promotion of a safe work environment.

Access is required to instruments, equipment, materials, workplace documentation, procedures and specifications associated with this unit, including, but not limited to:

access to construction sites and relevant site documentation

workplace procedures, site plans, sampling and test methods/programs and equipment manuals

consumables; hand tools; field sampling equipment, such as moulds and coring equipment; and test equipment, such as nuclear moisture/density gauge, dynamic cone penetrometers and slumping equipment

levelling equipment (dumpy and automatic levels) and global positioning system (GPS)

still/video camera and communication equipment

safety clothing and equipment, including helmets, boots, gloves, earmuffs and glasses.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competence and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience.

Currency can be demonstrated through:

performing the competency being assessed as part of current employment OR

having consulted with a laboratory about performing the competency being assessed within the last twelve months.

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/