# Assessment Requirements for MSL975018 Perform complex tests to measure chemical properties of materials

Release: 1

Assessment Requirements for MSL975018 Perform complex tests to measure chemical properties of materials

# Modification History

Release 1. Supersedes and is equivalent to MSL975018A Perform complex tests to measure chemical properties of materials

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

isolating analytes from complex matrices and performing multi-staged and/or multi-component analysis on them on at least three (3) different occasions

accurately interpreting client requests, test methods and procedures

applying detailed knowledge of analytical chemistry to develop an analysis plan for approval by a supervisor

maintaining close attention to measurement procedures, accuracy and precision during lengthy and complex tests

preparing samples and standards

safely setting up, starting up and shutting down equipment using workplace procedures

checking the calibration and qualification status of equipment

optimising procedures and equipment to suit sample and test requirements

making approved adjustments to procedures

preparing and using calibration charts and standards

analysing data, recognising atypical or anomalous results and troubleshooting common analytical procedure and equipment problems

calculating analyte concentrations with appropriate accuracy, precision, units and uncertainty

recording data and reporting results using workplace procedures

maintaining security, integrity and traceability of samples and documentation

following workplace safety procedures.

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

principles and concepts underpinning the analysis, including:

nature of specific sample matrices

effects of interferents with analyte behaviour, such as ionisation, complexation, precipitation, masking and association

quantification methods, such as internal standards, standard additions, Gran's Plot and recovery checks

chemical and physical treatments to minimise interferences

fragile and labile nature of biological sample materials

sample preparation procedures used for analyses

special needs for sample treatment or pre-treatment

function of key components of equipment and effects of modifying instrumental variables on outputs and results

basic procedure and equipment troubleshooting techniques

common analytical procedure and equipment problems, including:

matrix interference

spectral interference

problems associated with the physical state of the analyte, such as blockages and viscosity changing flow rates to instruments

basic equipment maintenance procedures

calculation steps to give results in appropriate units, precision and uncertainty

workplace and legal traceability requirements

relevant hazards, work health and safety (WHS) and environment requirements.

# Assessment Conditions

Judgment of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event.

This unit of competency is to be assessed in the workplace or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

MSL925001 Analyse data and report results

Holistic assessment methods include:

review of test data/results obtained by the candidate over time to ensure accuracy and consistency of results

inspection of test records and workplace documentation completed by the candidate

observation of candidate conducting a range of complex tests to measure chemical properties of materials

feedback from clients, peers and supervisors about the candidate’s ability to provide valid and reliable results within expected timeframes

oral or written questioning of relevant chemical principles, concepts, sample preparation, isolation of analytes, analytical techniques and workplace procedures.

Access is required to instruments, equipment, materials, workplace documentation, procedures and specifications associated with this unit, including, but not limited to:

a standard laboratory with specialised analytical instruments, laboratory reagents and equipment, standard operating procedures (SOPs) and test methods.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competence and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience.

Currency can be demonstrated through:

performing the competency being assessed as part of current employment OR

having consulted with a laboratory about performing the competency being assessed within the last twelve months.

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/