# MSL975019 Apply complex instrumental techniques

Release: 1

MSL975019 Apply complex instrumental techniques

# Modification History

Release 1. Supersedes and is equivalent to MSL975019A Apply complex instrumental techniques

# Application

This unit of competency covers the ability to analyse samples using specialised analytical instruments that require highly developed technical skills to operate effectively. Competency includes the ability to establish client needs for routine and non-routine samples, optimising workplace procedures and instruments for specific samples, obtaining valid and reliable data and reporting test results. Personnel are required to recognise atypical test data/results and troubleshoot common analytical procedure and equipment problems.

This unit of competency is applicable to technical officers working in all industry sectors, government agencies and research laboratories. All operations and analytical methods must comply with relevant standards, appropriate procedures and/or workplace requirements. Although a supervisor may not always be present, the technical officer will follow standard operating procedures (SOPs) that clearly describe the scope of permitted practice, including varying workplace/test procedures and communicating results to people outside the laboratory.

While no specific licensing or certification requirements apply to this unit at the time of publication, laboratory operations are governed by relevant legislation, regulations and/or external accreditation requirements. Local requirements should be checked.

# Pre-requisite Unit

| MSL975009 | Apply routine chromatographic techniques |
| --- | --- |
| AND |  |
| MSL974003 | Perform chemical tests |
| OR |  |
| MSL974006 | Perform biological procedures |
| OR |  |
| MSL975020 | Apply routine spectrometric techniques |
| AND |  |
| MSL974003 | Perform chemical tests |
| OR |  |
| MSL974006 | Perform biological procedures |

# Competency Field

Testing

# Unit Sector

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Establish client needs and schedule analysis | 1.1 | Liaise with client or sample provider to determine client needs and sample history |
|  |  | 1.2 | Record sample description, compare with specification and record and report discrepancies |
|  |  | 1.3 | Identify non-routine samples and the possible need to vary workplace procedures |
|  |  | 1.4 | Seek advice from supervisor about any proposed variations and document all approved changes. |
|  |  | 1.5 | Schedule analysis using workplace procedures |
| 2 | Prepare samples and standards | 2.1 | Obtain a representative analytical portion of the laboratory sample |
|  |  | 2.2 | Prepare sample in accordance with testing requirements |
|  |  | 2.3 | Prepare validation checks and/or calibration standards for analytical portions |
|  |  | 2.4 | Use specialised procedures for ultra-trace samples and standard preparation as required |
| 3 | Set up and optimise instrument and sub-systems | 3.1 | Perform pre-use and safety checks using workplace procedures |
|  |  | 3.2 | Assemble appropriate instrument sub-systems to construct the required analytical path |
|  |  | 3.3 | Start up and condition the instrument using workplace procedures |
|  |  | 3.4 | Check and optimise each instrument sub-system |
|  |  | 3.5 | Optimise instrumental parameters to suit sample and test requirements |
|  |  | 3.6 | Check calibration status of instrument and perform calibration using specified standards and procedures, as required |
| 4 | Perform analysis | 4.1 | Measure analyte response for standards, validation checks and samples |
|  |  | 4.2 | Conduct sufficient measurements to obtain reliable data |
|  |  | 4.3 | Return instruments to standby or shutdown condition as required |
| 5 | Process and analyse data | 5.1 | Confirm data is the result of valid measurements |
|  |  | 5.2 | Perform required calculations and ensure results are consistent with standards or estimations and expectations |
|  |  | 5.3 | Record results with the appropriate accuracy, precision, uncertainty and units |
|  |  | 5.4 | Analyse trends in data and/or results and report out-of-specification or atypical results promptly to appropriate personnel |
|  |  | 5.5 | Troubleshoot analytical procedure or equipment problems which have led to atypical data or results |
| 6 | Maintain a safe work environment | 6.1 | Identify risks, hazards, safety equipment and control measures associated with sample handling, preparation and analytical method |
|  |  | 6.2 | Use personal protective equipment (PPE) and safety procedures specified for test method and materials to be tested |
|  |  | 6.3 | Minimise the generation of waste and environmental impacts |
|  |  | 6.4 | Ensure the safe disposal of laboratory waste |
|  |  | 6.5 | Clean, care for and store equipment and consumables in accordance with workplace procedures |
| 7 | Maintain laboratory records | 7.1 | Enter approved data and results into laboratory information management system (LIMS) |
|  |  | 7.2 | Maintain equipment logs in accordance with workplace procedures |
|  |  | 7.3 | Maintain security, integrity and traceability of samples and documentation |
|  |  | 7.4 | Communicate results to appropriate personnel |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Standards, codes, procedures and/or workplace requirements | Standards, codes, procedures and/or workplace requirements include the latest version of one or more of: Australian and international standards covering the requirements for the competence of testing and calibration laboratories, laboratory design and construction, physical containment levels and facility types, laboratory safety, and quality and environmental management national work health and safety (WHS) standards and codes of practice, and national measurement regulations and guidelines Australian and international standards and guidelines covering specialised spectrometric and chromatographic analysis, accuracy of measurement methods and results, expression of uncertainty and quantifying uncertainty specific codes, guidelines, procedures and methods, such as the Australian code of good manufacturing practice for medicinal products (GMP), and principles of good laboratory practice (GLP) workplace documents, such as standard operating procedures (SOPs); quality and equipment manuals; calibration and maintenance schedules; material safety data sheets (MSDS) and safety procedures; material, production and product specifications; production and laboratory schedules; workplace recording and reporting procedures; waste minimisation and safe disposal procedures; cleaning, hygiene and personal hygiene requirements; and stock records and inventory sampling procedures (labelling, preparation, storage, transport and disposal) test procedures (validated and authorised) |
| Specialised analytical instruments | Specialised analytical instruments include one or more of, but are not limited to: spectrometric instruments: electrothermal atomic absorption spectroscopy (AAS) vapour generation AAS X-ray fluorescence (XRF) and diffraction (XRD) nuclear magnetic resonance (NMR) and magnetic resonance imaging (MRI) mass spectrometry (MS) neutron activation analysis (NAA) inductively coupled plasma mass spectrometry (ICP-MS) chromatographic instruments: gas chromatography mass spectroscopy (GC-MS) GC sampling devices (e.g. headspace and thermal desorption) specialised GC detection devices (e.g. electron capture detector (ECD), flame photometric detector (FPD) and nitrogen phosphorous detection (NPD)) specialised GC detection devices (e.g. fluorescent, diode array and electrochemical) liquid chromatography mass spectroscopy (LC-MS), electro-spray MS gas chromatography Fourier transform infrared (GC-FTIR) electrometric instruments, such as anodic stripping voltammetry flow injection analytical equipment |
| Tests requiring specialised analytical instruments | Tests requiring specialised analytical instruments include, but are not limited to, one or more of: trace analysis non-destructive testing multi-analyte determination analysis involving high sample throughput |
| Instrument sub-systems | Instrument sub-systems include, but are not limited to, one or more of: sample introduction units and auto sampling equipment detectors and signal conditioning units temperature control devices, such as cryostats, ovens and thermostat baths software control/interface |
| Sample preparation | Sample preparation includes one or more of: identification of any hazards associated with the samples and/or analytical chemicals techniques, such as grinding, mulling, preparation of disks, digestion, dissolving, ashing, refluxing, extraction, filtration, evaporation, flocculation, precipitation, washing, drying and centrifugation solid-phase micro-extraction determination of, and if appropriate, removal of any contaminants or impurities ultra-trace procedures requiring high purity solvents, clean rooms, ultra clean glassware and specialised glassware |
| Safe work practices | Safe work practices include, but are not limited to, one or more of: ensuring access to service shut-off points recognising and observing hazard warnings and safety signs labelling of samples, reagents, aliquoted samples and hazardous materials handling and storage of hazardous materials and equipment in accordance with labelling, MSDS and manufacturer instructions identifying and reporting operating problems or equipment malfunctions cleaning and decontaminating equipment and work areas regularly using workplace procedures using PPE, such as gloves, safety glasses, coveralls and gowns reporting abnormal emissions, discharges and airborne contaminants, such as noise, light, solids, liquids, water/wastewater, gases, smoke, vapour, fumes, odour and particulates, to appropriate personnel |
| WHS and environmental management requirements | WHS and environmental management requirements include:  complying with WHS and environmental management requirements at all times, which may be imposed through state/territory or federal legislation. These requirements must not be compromised at any time  applying standard precautions relating to the potentially hazardous nature of samples accessing and applying current industry understanding of infection control issued by the National Health and Medical Research Council (NHMRC) and State and Territory Departments of Health, where relevant |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to MSL975019A Apply complex instrumental techniques

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/