# Assessment Requirements for MSL975020 Apply routine spectrometric techniques

Release: 1

Assessment Requirements for MSL975020 Apply routine spectrometric techniques

# Modification History

Release 1. Supersedes and is equivalent to MSL975020A Apply routine spectrometric techniques

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

accurately interpreting client requests, test methods/procedures

applying routine spectrometric techniques on least three (3) occasions to obtain valid and reliable data

establishing client needs for routine and non-routine samples

preparing samples using at least three (3) different processes

preparing standards

safely setting up, operating and shutting down equipment

checking calibration and qualification status of equipment

choosing and optimising procedures and equipment settings to suit sample and test requirements, such as selection of wavelength maxima and position of burner

making approved adjustments to procedures for non-routine samples

interpreting data, recognising atypical test data and results and making relevant conclusions

troubleshooting common analytical procedure and equipment problems

preparing and using calibration charts and standards

identifying and calculating potential sources of uncertainty

calculating results using appropriate equations, units, uncertainties and precision

recording and reporting data and results in accordance with workplace procedures

maintaining security, integrity and traceability of samples and documentation

following workplace safety procedures.

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

relationship of chemical structure to electromagnetic radiation absorption, spectrometric principles and concepts related to instrumentation operation and testing

use of different spectrometric methods for qualitative and quantitative analysis and preparation of specific samples relevant to job role

handling of unstable or hazardous chemicals and samples and the fragile and labile nature of biological materials

sample preparation procedures

function of key components of the equipment and effects on spectra of modifying and optimising instrumental variables, such as wavelength, slit width, burner position and lamp voltage

basic procedure and equipment troubleshooting techniques

common analytical procedure and equipment problems, such as:

dirty or contaminated sample cells

inappropriate selection of wavelength

problems with interfering or complexing substances

incomplete atomisation of analyte

poor resolution of peaks

poor sensitivity

need to dilute samples

calculation steps to give results in appropriate accuracy, precision, uncertainty and units

workplace and legal traceability requirements

basic equipment maintenance procedures

relevant hazards, work health and safety (WHS) and environment requirements.

# Assessment Conditions

Judgment of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event.

This unit of competency is to be assessed in the workplace or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process, such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

MSL925001 Analyse data and report results

Holistic assessment methods include:

review of test data and results obtained by the candidate over time to ensure accuracy, consistency and timeliness of results

inspection of test records and workplace documentation completed by the candidate

feedback from peers and supervisors

observation of the candidate applying a range of routine spectrometric techniques

oral or written questioning of chemical principles and concepts, spectrometric techniques and workplace procedures.

Access is required to instruments, equipment, materials, workplace documentation, procedures and specifications associated with this unit, including, but not limited to:

a standard laboratory equipped with appropriate spectrometers, laboratory reagents and equipment, standard operating procedures (SOPs) and test methods.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competence and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience.

Currency can be demonstrated through:

performing the competency being assessed as part of current employment OR

having consulted with a laboratory about performing the competency being assessed within the last twelve months.

# Links

MSA Training Package Implementation Guides - http://mskills.org.au/training-packages/info/