# Assessment Requirements for MSL975028 Apply advanced embedding and microtomy skills

Release: 1

Assessment Requirements for MSL975028 Apply advanced embedding and microtomy skills

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | New unit. This version was released in MSL Laboratory Operations Training Package Release 2.0. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

embedded at least 15 tissue types that are flat, correctly orientated and in a single layer of wax, including at least 1 of each of the following:

large tissues

small tissues

multiple small biopsies in a single block

epithelial tissue such as skin or tongue with embedding orientation

tissue prone to distortion

bone

shave biopsies

friable/tiny tissue

excision biopsies

fatty tissue

bloody tissue

blood clot

agar plugs

recorded log sheet discrepancies and indicated what level of action is required, i.e. record only, contact submitter, continue testing or halt testing or return sample to their source with reasons for non-acceptance

numerically ordered blocks for microtomy

cut at least 50 paraffin embedded sections, with minimal wrinkles, scores and folds, at the specified thickness (the complete surface of the tissue must be present on all slides with the remaining tissue in the block conserved for future testing) to industry standard, including:

at least one slide from each of the special preparation blocks.

1 slide each from 15 different blocks cut on the one occasion

at least 15 different tissue types

1 slide containing two ribbons with at least 3 serial sections per ribbon

1 slide containing 3 ribbons with at least 2 serial sections per ribbon

2 slides with both a section of “sample” tissue and “control” tissue

2 slides with at least 3 levels on each.

1 slide with a section 2-3µm

labelled all slides clearly with minimum legal traceability requirements

microscopically inspected sections after haematoxylin and eosin (H&E) staining to identify microtomy quality issues and recommend solutions.

identify tissue types by sight at embedding and microtomy.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

specialised handling requirement for cortical and trabecular bone including bone marrow trephines

nature of and criteria for embedding a wide variety of clinically significant tissue including:

large tissues

small tissues

multiple small biopsies in a single block

epithelial tissue such as skin or tongue with embedding orientation

tissue prone to distortion

bone, both solid and trabecular

shave biopsies

excision biopsies

fatty tissue

bloody tissue

blood clot

agar plugs

functions of the components of an embedding centre

role of reprocessing tissue that fail processing quality control checks at embedding

relationship between correct orientation of the tissue during embedding and ability to cut sections from surface required for subsequent microscopic examination

implications of various quality control issues in embedding on microtomy quality control

functions of the components of a rotary microtome

purpose of microtome orientation mechanism

how decalcifiers, tissue softeners, cold plates and wet ice are used in microtomy

Royal College of Pathologists of Australasia (RCPA) recommendations for specialised cutting techniques and practices for different tissue types including renal, liver and gastric biopsies, lymph nodes and alopecia specimens.

how section adherents are used for specialised staining techniques

requirements and purpose of instrument logs

workplace and/or legal traceability requirements

protocols for drying cut sections for routine and specialised staining

workplace safety procedures and precautions for:

handling potentially hazardous chemicals, such as decalcifiers, tissue softeners, slide adhesives and paraffin wax

embedding and microtomy

sharps and broken glassware

awareness of environmental sustainability issues as they relate to the work

legal, ethical and work health and safety (WHS) requirements specific to the work task, including confidentiality and security requirements of all clinical information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard histology laboratory with relevant equipment, samples and reagents, filing systems

workplace procedures, test methods and equipment manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa