# Assessment Requirements for MSL975030 Perform immunohaematological tests

Release: 1

Assessment Requirements for MSL975030 Perform immunohaematological tests

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL975006 Perform immunohaematological tests. Pre-requisite removed. Changes to elements and performance criteria. Foundation skill information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely performed and interpret at least 5 immunohaematological tests following the laboratory’s validated and authorised procedures, including:

forward and reverse ABO typing

RhD phenotyping

three cell screen

eleven cell panel

direct antiglobulin test

with 100% accuracy of patient identification in all steps

performing tests accurately and organising work to ensure the timely release of blood and blood products and needs of relevant patients and clients are met.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

scientific, medical, clinical, technical and workplace terminology relevant to normal and abnormal anatomy, physiology, biochemistry, immunology and immunohaematology

immunological concepts including:

acquired immunity

antibody structure and function

antigen antibody reactions

principle and purpose of test methods implemented (why they are used and what they demonstrate)

basic principles of transfusion reactions

types of blood products and their use

what blood products can be issued in an emergency transfusion

actions required when result interpretation is outside parameters of authorised approval

relationships that exist between the storage conditions for transfusion products and commercial reagents and the test results

relationships that exist between the transport conditions for transfusion products and their safe and timely delivery

technological advances in immunohaematology including automation such as computer cross matching and genotyping to determine blood group

National Pathology Accreditation Advisory Council (NPAAC) standards for pretransfusion testing

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, confidentiality and security requirements of all clinical information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard transfusion/immunohaematology laboratory with relevant equipment, samples, reagents, laboratory information management system, databases and record/filing system

workplace procedures, test methods and equipment manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa