# Assessment Requirements for MSL975036 Perform haematological tests

Release: 1

Assessment Requirements for MSL975036 Perform haematological tests

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL975002 Perform haematological tests. Changes to elements and performance criteria. Foundation skills information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

safely and accurately performed and interpreted at least 3 haematological tests or procedures from the list below:

packed cell volume (PCV)

erythrocyte sedimentation rate (ESR)

platelet estimation

reticulocyte count

haemoglobin (Hb) measurement

coagulation tests including prothrombin time

accurately performed and interpreted the following tests, recording results for at least 3 samples, including 1 normal and 2 abnormal, for each of the following:

calculate red cell indices including mean cell volume (MCV), mean cell haemoglobin (MCH), and mean cell haemoglobin concentration (MCHC)

white blood cell (WBC) differential

red blood cell (RBC), WBC and platelet morphology

used accurate terminology

visually differentiate a variety of sample conditions including clotted, lipemic, haemolysed and inadequate samples.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

scientific, medical, clinical, technical and workplace terminology relevant to normal and abnormal haematology, including anatomy, physiology, genetics, biochemistry and immunology

basic structure and function of red blood cells, white blood cells and platelets

structure, function and metabolic variants of Hb

basic principles of haemostasis and the effects of therapeutic drugs on coagulation mechanisms

routine test performed in haematology laboratories and their purpose including:

full blood count

routine haematological stains

blood film examination

ESR

coagulation tests

haemoglobin measurement

morphological variation of red blood cells, white blood cells and platelets and their significance as a diagnostic indicator

key diagnostic laboratory findings used to identify common haematological disorders including:

anaemias and the common subtypes including macrocytic, microcytic and normocytic

acute leukaemias

mature lymphoproliferative disorders

myeloproliferative disorders

myelodysplastic syndromes

microbiological infections including malaria

coagulopathies

importance of identifying immature cells including nucleated red blood cells (NRBC) and blasts

actions required when abnormal parameters are identified

importance of further testing to confirm diagnosis

technological advances in haematology including automation of full blood counts, coagulation assays and point of care testing:

advantages and limitation of automation

importance of equipment maintenance and use of controls

relationships that exist between the sample and the test result, including:

sample collection

the preservation and timely testing of samples

sample transport and storage conditions and issues of fixation/staining artefact

trouble shooting of common sample quality issues

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, confidentiality and security requirements of all clinical information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard haematology laboratory with relevant equipment, samples and reagents, laboratory information system, databases and record/filing system

instruments for the semi-automated or automated electronic counting and partial characterisation of blood cells, the measurement of haemoglobin and the computation of red cell indices

workplace procedures, test methods and equipment manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Training Package Companion Volumes - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa