# Assessment Requirements for MSL975049 Apply routine electrometric techniques

Release: 1

Assessment Requirements for MSL975049 Apply routine electrometric techniques

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL975021 Apply routine electrometric techniques. Conditional/optional prerequisite removed – code retained. Changes to elements and performance criteria. Foundation skills information added. Range of conditions removed. Assessment requirements amended. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

applied routine electrometric techniques to at least 3 different samples to obtain valid and reliable data

effectively prepared samples using at least 3 different processes.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

redox and electrical principles and concepts related to electrometric instrumentation operation and testing

use of various electrometric techniques for qualitative and quantitative analysis

handling of unstable or hazardous chemicals and samples, including the fragile and labile nature of biological materials

routine electrometric techniques

typical tests

typical sample preparation

calculation steps to give results in appropriate accuracy, precision, uncertainty and units

workplace and legal traceability requirements

basic equipment maintenance procedures

principles and purpose of test methods implemented (why they are used and what they demonstrate)

technological advances that include automation

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, confidentiality and security requirements of all client information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory

routine electrometric equipment, laboratory reagents and equipment, standard operating procedures (SOPs) and test methods.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Training Package Companion Volumes - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa