# Assessment Requirements for MSL975050 Perform food analyses

Release: 1

Assessment Requirements for MSL975050 Perform food analyses

# Modification History

| Release | Comments |
| --- | --- |
| Release 1 | This version was released in MSL Laboratory Operations Training Package Release 2.0. Supersedes and equivalent to MSL975022 Perform food analyses. Changes to performance criteria. Foundation skills information added. Range of conditions removed. Equivalent outcome. |

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

analysed the nutrient and ingredient composition of 2 different foods containing a minimum of 2 different ingredients in each using at least 1 of the following analytical instruments:

spectrometric instruments

chromatographic techniques and instruments

gas chromatography mass spectroscopy (GC-MS)

electrophoretic techniques

electrometric techniques

accurately identified and quantified chemical and biological contaminants in at least 1 raw food sample and at least 1 processed food sample

safely prepared complex samples using at least 3 different processes including at least 2 of the following:

grinding and milling

preparation of discs

digestion

extracting

refluxing

degassing

enzymatic treatment

washing and drying

ashing and temperature equilibration

precipitation and centrifugation

filtration

flocculation

evaporation.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

scope and purpose of analysing nutritional/ingredient composition including:

optimising production processes

nutritional information

labelling requirements

food safety

establishment, monitoring and troubleshooting of the hazard analysis and critical control point (HACCP) process

analyses commonly used for additive and nutrient composition and identification of contaminants

general composition of common food and beverages

key food processing and preservation techniques, packaging and controlled atmosphere storage and their effect on nutrients

food labelling regulations and their implications for nutritional claims

sample preparation methods and correct storage conditions for specific food samples and tests relevant to job role

principles and purpose of test methods implemented (why they are used and what they demonstrate)

technological advances that include automation

function of key components of the equipment/instrument used

effects on the test of modifying equipment/instrument variables

identification of any hazards associated with the samples and/or analytical chemicals

basic procedure and equipment troubleshooting techniques:

equipment maintenance procedures

calculation steps to give results in appropriate units and precision

sources of error in specific tests and reproducibility and accuracy of commonly used test method for nutrient analysis

impact of public perception of food safety and nutrition on food analysis

requirements including genetically modified foods, food irradiation, antibiotics and specific nutrient composition

nature, structure and function of food additives

food allergies and intolerances

glycaemic index (GI) and its significance

significance of digestion and absorption of macro and micro-nutrients in food and the implications of food additives and fortification on absorption of nutrients,

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, confidentiality and security requirements of all client information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory with appropriate analytical instruments, laboratory reagents and equipment and samples

standard operating procedures (SOPs) and test methods.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Training Package Companion Volumes - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa