# Assessment Requirements for MSL975056 Perform advanced histological techniques

Release: 1

Assessment Requirements for MSL975056 Perform advanced histological techniques

# Modification History

Release 1. Supersedes and is equivalent to MSL975028 Apply advanced embedding and microtomy skills. Title changed. Content removed that duplicates the required prerequisite unit and changes to clarify Performance Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

recorded log sheet discrepancies and indicated what level of action is required, i.e. record only, contact submitter, continue testing or halt testing or return sample to their source with reasons for non-acceptance

embedded each of the following tissue types flat, correctly orientated and in a single layer of wax:

core biopsy

multiple tiny specimens in a single block

punch biopsy of epithelial tissue with embedding orientation

tissue prone to distortion

bone or other hard tissue

shave biopsy or on edge specimen

friable tissue processed with sponges

excision biopsy

fatty tissue

bloody tissue or blood clot

agar plug

cut at least 40 paraffin embedded sections, with minimal wrinkles, scores and folds, at the specified thickness (the complete surface of the tissue must be present on all slides with the remaining tissue in the block conserved for future testing) to industry standard, including:

at least one slide from each of the embedded tissue types described above

1 slide each from 11 different blocks cut on the one occasion

1 slide containing at least 3 serial sections

2 slides with both a section of “sample” tissue and “control” tissue

2 slides with at least 3 levels on each.

1 slide with a section 2-3µm

inspect sections to identify microtomy quality issues and recommend solutions.

identify tissue types by sight at embedding and microtomy.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

specialised handling requirement for cortical and trabecular bone including bone marrow trephines

orientation criteria for embedding a wide variety of clinically significant tissue, including:

multiple small biopsies in a single block

epithelial tissue such as skin or tongue with embedding orientation

tissue prone to distortion

bone, both solid and trabecular

shave biopsies

excision biopsies

fatty tissue

bloody tissue

blood clot

agar plugs

role of reprocessing tissue that fail processing quality control checks at embedding

implications of various quality control issues in embedding on microtomy quality control

purpose of microtome orientation mechanism

how decalcifiers, tissue softeners, cold plates and wet ice are used in microtomy

Royal College of Pathologists of Australasia (RCPA) recommendations for specialised cutting techniques and practices for different tissue types including renal, liver and gastric biopsies, lymph nodes and alopecia specimens.

how section adherents are used for specialised staining techniques

protocols for drying cut sections for routine and specialised staining

workplace safety procedures and precautions for:

handling potentially hazardous chemicals, such as decalcifiers, tissue softeners and slide adhesives

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard histology laboratory with relevant equipment, samples, reagents and filing systems

workplace procedures, test methods and equipment manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa