# Assessment Requirements for MSL975057 Perform histological tests

Release: 1

Assessment Requirements for MSL975057 Perform histological tests

# Modification History

Release 1. Supersedes and equivalent to MSL975029 Perform histological tests. Changes to Performance Criteria. Oral communication removed from Foundation Skills, as this is not a focus in the unit. Performance Evidence changed to add lymph node as an option and remove requirement to use polarising microscopy and heat or microwave ovens. Changes to Knowledge Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

registered at least 10 samples into a laboratory information management system (LIMS) with 100% accuracy, identifying specimens and request forms that do not comply with minimum industry requirements for labelling, identification and test requests, including:

entered at least 8 samples into the LIMS within five minutes

recorded sample and request form discrepancies and indicated what level of action is required, i.e. record only, contact submitter, continue testing or halt testing or return sample to their source with reasons for non-acceptance

embedded at least 6 tissue types that are flat, correctly orientated and in a single layer of wax, including one of each of the following:

large tissues

small tissues

multiple small biopsies in a single block

epithelial tissue such as skin or tongue

tissue prone to distortion

bone

inspected and re-embedded blocks that do not meet quality control standards

cut at least 40 paraffin embedded sections, from at least 5 different tissue types free of major wrinkles, scores and folds, at the specified thickness (the complete surface of the tissue must be present on all slides with the remaining tissue in the block conserved for future testing) to industry quality control standards

produced stained sections that consistently pass industry quality control standards, on separate occasions, that allow for diagnosis and results to be issued, including:

stained at least 5 routine paraffin embedded sections from at least 5 different tissue types to demonstrate tissue structure using a regressive haematoxylin and eosin stain

performed the periodic acid Schiff (PAS) technique using positive control tissue

performed at least 5 different specialised/histochemical stains using positive control tissues, to demonstrate at least 5 of the following:

connective tissue

muscle striations

central nervous system

basement membrane

microorganisms

pigments

deposits

carbohydrates and/or mucins

amyloid

used specialised techniques, including heat

consistently produced cover slipped slides, ensuring that no air bubbles are formed and material is preserved for the life of the slide.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

importance of recognising the uniqueness of patient histological tissues (a non-renewable resource)

purpose and process of frozen sectioning

purpose and process of surgical cut-up

advantages and disadvantages of different types of fixatives

types and purpose of tissue softening techniques

relationship between correct orientation of the tissue during embedding and ability to cut quality sections

functions of the components of a rotary microtome

purpose of each step in tissue processing and routine Haematoxylin and Eosin staining methods

basic aspects of how incorrect work practices in each histological procedure can impact on subsequent processes including the quality of the final microscopic outcome

labile nature of histological chemicals and the importance of correct preparation and storage

effects of the presence of artefacts in sections on microscopic examination of tissues including common artifacts, their cause and how to resolve them

purpose of polarising microscopy and heat in staining techniques

terminology used to describe tissue components being stained, these may be anatomical, physiological, biochemical or immunological, depending on the expected staining outcomes

microscopic anatomy of vascular tissue relevant to stain quality control

microscopic anatomy of common tissue types to enable quality control assessment of staining techniques and confirmation of tissue and stain type

purpose of staining procedures implemented (why they are used and what components they demonstrate)

basic biological principles and concepts behind the steps involved in immunohistochemical staining procedures

relationship between correct differentiation, and the ability to produce quality stained slides and troubleshoot staining issues

appropriate storage of specimens

technological advances that include automation

workplace safety procedures and precautions relevant to:

handling hazardous chemicals and stains used in the job role, including formaldehyde, xylene/limonene, ethanol

embedding and microtomy

sharps and broken glassware

environmental sustainability issues as they relate to the work task

legal and ethical requirements specific to the work task including traceability, confidentiality and security requirements of all clinical information, and laboratory data and records and legal requirements relating to the use of human tissue.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard histology laboratory with relevant equipment, samples and reagents; and computer information systems, databases, record and filing systems, including specimen accessioning

workplace procedures and equipment manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa