# MSL975057 Perform histological tests

Release: 1

MSL975057 Perform histological tests

# Modification History

Release 1. Supersedes and equivalent to MSL975029 Perform histological tests. Changes to Performance Criteria. Oral communication removed from Foundation Skills, as this is not a focus in the unit. Performance Evidence changed to add lymph node as an option and remove requirement to use polarising microscopy and heat or microwave ovens. Changes to Knowledge Evidence.

# Application

This unit of competency describes the skills and knowledge to perform tests and procedures associated with processing and staining tissues for examination of tissue structure and abnormalities by pathologists and scientists to assist with disease diagnosis. The unit covers tests and procedures that are associated with anatomical pathology and may involve the use of automated processors and staining machines.

This unit applies to laboratory technicians and technical officers in the biomedical sector. The unit principally refers to techniques performed on human tissues, but many aspects may be relevant to animal and plant tissues. This unit of competency assumes that the technical officer would perform tests and procedures under the close supervision of scientific and/or medical staff. Although a supervisor may not always be present, the technician will follow workplace procedures that will clearly describe the scope of permitted practice in modifying testing procedures, quality control procedures, interpretation of data, and for communicating test results to people outside the laboratory. Technical workers may need to interrupt their routine work in order to assist with or perform procedures to facilitate rapid diagnosis of specimens from patients in the operating theatre. The involvement of the technical officer in mortuary work will be determined by the workplace. Work of this nature will always be closely supervised by scientific/medical staff.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Pre-requisite Unit

MSL973028 Perform microscopic examination

MSL954006 Relate anatomical and physiological features to laboratory samples

# Competency Field

Testing

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Receive and check specimens and associated request forms | 1.1 Identify specimens and request forms that do not comply with workplace requirements 1.2 Record any discrepancies and indicate action required 1.3 Register samples in accordance with workplace procedures, recording details that allow accurate tracking and chain of custody traceable to employee 1.4 Prepare work area for safe and effective workflows |
| 2. Process tissue | 2.1 Perform pre-use checks to ensure processor is fit for purpose 2.2 Inspect processor reagents for deterioration and adequate volume, and report any items requiring replacement 2.3 Record any issues that may impact on sample integrity and indicate action required 2.4 Check reagents are in sequential order 2.5 Select processor program for routine and non-routine samples |
| 3. Embed tissue | 3.1 Perform pre-use check to ensure embedding centre is fit for purpose and uninterrupted embedding of processor load 3.2 Embed tissue types in correct orientation and characteristics that minimise tissue loss and artefacts during microtomy 3.3 Apply procedures to prevent cross-contamination between tissues 3.4 Inspect blocks, reject and re-embed items that do not meet quality control standards |
| 4. Cut tissue sections | 4.1 Label required number of microscope slides in accordance with workplace traceability requirements 4.2 Check the flotation bath is ready and satisfactory for use 4.3 Prepare and adjust all external parts of a microtome and associated equipment for routine sample processing 4.4 Secure block in microtome following specified safety directions 4.5 Orientate the block correctly for each specific tissue in order to maintain sample integrity and minimise artefacts 4.6 Cut representative sections at the required thickness according to needs of subsequent procedures, maintaining sample integrity, minimising artefacts and conserving tissue for further testing 4.7 Float sections onto water bath to flatten tissues and pick up sections onto microscope slides ensuring patient identification on slides matches that on the block 4.8 Compare the blocks and sections ensuring the tissue on slides matches that in the blocks 4.9 Apply procedures to prevent cross-contamination between patient tissues 4.10 Identify, troubleshoot and resolve common section quality control issues 4.11 Inspect sections and reject any that do not meet quality control standards |
| 5. Stain tissue sections | 5.1 Prepare any labile reagents for immediate use 5.2 Select reagents for specified technique, ensuring reagent sequence matches workplace procedure 5.3 Stain sections in accordance with workplace procedures using the required quality control section and accommodating any authorised variations 5.4 Mount slides using medium compatible with staining technique ensuring no bubbles 5.5 Examine control sections microscopically to ensure expected staining outcomes are achieved 5.6 Confirm microscopically that the type/disease is appropriate and still present in the control sections for each stain 5.7 Label specimens in accordance with workplace traceability requirements 5.8 Collate, approve and release slides to pathologist in accordance with workplace procedures |
| 6. Maintain laboratory records | 6.1 Complete control stain quality assessment forms to report quality control outcome 6.2 File and store samples to facilitate efficient retrieval as required 6.3 Maintain instrument logs as required by accreditation checks |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Problem-solving skills to troubleshoot issues and suggest solutions

Planning and organising skills to work efficiently and manage time effectively.

Other foundation skills essential to performance are explicit in the performance criteria of this unit.

# Unit Mapping Information

Supersedes and is equivalent to MSL975029 Perform histological tests.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa

Assessment Requirements for MSL975057 Perform histological tests

# Modification History

Release 1. Supersedes and equivalent to MSL975029 Perform histological tests. Changes to Performance Criteria. Oral communication removed from Foundation Skills, as this is not a focus in the unit. Performance Evidence changed to add lymph node as an option and remove requirement to use polarising microscopy and heat or microwave ovens. Changes to Knowledge Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

registered at least 10 samples into a laboratory information management system (LIMS) with 100% accuracy, identifying specimens and request forms that do not comply with minimum industry requirements for labelling, identification and test requests, including:

entered at least 8 samples into the LIMS within five minutes

recorded sample and request form discrepancies and indicated what level of action is required, i.e. record only, contact submitter, continue testing or halt testing or return sample to their source with reasons for non-acceptance

embedded at least 6 tissue types that are flat, correctly orientated and in a single layer of wax, including one of each of the following:

large tissues

small tissues

multiple small biopsies in a single block

epithelial tissue such as skin or tongue

tissue prone to distortion

bone

inspected and re-embedded blocks that do not meet quality control standards

cut at least 40 paraffin embedded sections, from at least 5 different tissue types free of major wrinkles, scores and folds, at the specified thickness (the complete surface of the tissue must be present on all slides with the remaining tissue in the block conserved for future testing) to industry quality control standards

produced stained sections that consistently pass industry quality control standards, on separate occasions, that allow for diagnosis and results to be issued, including:

stained at least 5 routine paraffin embedded sections from at least 5 different tissue types to demonstrate tissue structure using a regressive haematoxylin and eosin stain

performed the periodic acid Schiff (PAS) technique using positive control tissue

performed at least 5 different specialised/histochemical stains using positive control tissues, to demonstrate at least 5 of the following:

connective tissue

muscle striations

central nervous system

basement membrane

microorganisms

pigments

deposits

carbohydrates and/or mucins

amyloid

used specialised techniques, including heat

consistently produced cover slipped slides, ensuring that no air bubbles are formed and material is preserved for the life of the slide.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

importance of recognising the uniqueness of patient histological tissues (a non-renewable resource)

purpose and process of frozen sectioning

purpose and process of surgical cut-up

advantages and disadvantages of different types of fixatives

types and purpose of tissue softening techniques

relationship between correct orientation of the tissue during embedding and ability to cut quality sections

functions of the components of a rotary microtome

purpose of each step in tissue processing and routine Haematoxylin and Eosin staining methods

basic aspects of how incorrect work practices in each histological procedure can impact on subsequent processes including the quality of the final microscopic outcome

labile nature of histological chemicals and the importance of correct preparation and storage

effects of the presence of artefacts in sections on microscopic examination of tissues including common artifacts, their cause and how to resolve them

purpose of polarising microscopy and heat in staining techniques

terminology used to describe tissue components being stained, these may be anatomical, physiological, biochemical or immunological, depending on the expected staining outcomes

microscopic anatomy of vascular tissue relevant to stain quality control

microscopic anatomy of common tissue types to enable quality control assessment of staining techniques and confirmation of tissue and stain type

purpose of staining procedures implemented (why they are used and what components they demonstrate)

basic biological principles and concepts behind the steps involved in immunohistochemical staining procedures

relationship between correct differentiation, and the ability to produce quality stained slides and troubleshoot staining issues

appropriate storage of specimens

technological advances that include automation

workplace safety procedures and precautions relevant to:

handling hazardous chemicals and stains used in the job role, including formaldehyde, xylene/limonene, ethanol

embedding and microtomy

sharps and broken glassware

environmental sustainability issues as they relate to the work task

legal and ethical requirements specific to the work task including traceability, confidentiality and security requirements of all clinical information, and laboratory data and records and legal requirements relating to the use of human tissue.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard histology laboratory with relevant equipment, samples and reagents; and computer information systems, databases, record and filing systems, including specimen accessioning

workplace procedures and equipment manuals.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa