# Assessment Requirements for MSL975066 Apply routine chromatographic techniques

Release: 1

Assessment Requirements for MSL975066 Apply routine chromatographic techniques

# Modification History

Release 1. Supersedes and equivalent to MSL975040 Apply routine chromatographic techniques. Element 6 integrated into Element 5. Minor changes to Performance Criteria. Clarification that different chromatographic techniques are required in Performance Evidence. Removal of duplicating items in Knowledge Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

prepared samples using at least 3 different processes

analysed at least 3 different samples using 3 different chromatographic techniques to obtain valid and reliable data.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

chromatographic principles and concepts related to instrumentation operation, material preparation and testing

use of different chromatographic methods for qualitative and quantitative analysis and preparation of specific samples relevant to job role

handling of unstable or hazardous chemicals and samples

functions of key components of the instruments and effects on outputs and results of modifying instrumental variables

calculation steps to give results in appropriate accuracy, precision, uncertainty and units

selection of appropriate separation technique, such as suitable substrate and support solvent, buffer, temperature, flow rate, column length and detection method

principles and purpose of test methods implemented (why they are used and what they demonstrate)

technological advances that include automation

workplace procedures for:

optimising separation through changing operation parameters

equipment troubleshooting techniques

basic equipment maintenance

common procedure and equipment problems, including:

problems with interfering substances

poor resolution of peaks

inappropriate selection of column or operating parameters (flow rate and temperature)

unsuitable substrate or support solvent

lack of suitable reference standards

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, confidentiality and security requirements of all client information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with routine chromatographic equipment, laboratory reagents and equipment

workplace procedures and test methods.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa