# Assessment Requirements for MSL975067 Perform complex tests to measure chemical properties of materials

Release: 1

Assessment Requirements for MSL975067 Perform complex tests to measure chemical properties of materials

# Modification History

Release 1. Supersedes and equivalent to MSL975046 Perform complex tests to measure chemical properties of materials. Element 6 integrated into Element 5. Minor changes to Performance Criteria. Removal of duplicating items in Knowledge Evidence.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

isolated analytes from 3 different complex matrices and performed multi-staged and/or multi-component analysis on each.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

principles and concepts underpinning the analysis:

nature of specific sample matrices

effects of interferents with analyte behaviour, including ionisation, complexation, precipitation, masking and association

quantification methods

chemical and physical treatments to minimise interferences

special needs for sample treatment or pre-treatment

function of key components of equipment and effects of modifying instrumental variables on outputs and results

typical analytes and samples requiring complex tests

typical tests for completeness of sample preparation:

visual inspection for colour and solids

odour

pH and conductivity

chemical tests for interferents, such as precipitation and colour forming

basic screening instrumental tests

application of chemical modifiers

sample preparation procedures used for analyses

basic equipment maintenance procedures

calculation steps to give results in appropriate units, precision and uncertainty

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, confidentiality and security requirements of all client information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory

specialised analytical instruments, laboratory reagents and equipment

workplace procedures and test methods.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa