# MSL975068 Apply complex instrumental techniques

Release: 1

MSL975068 Apply complex instrumental techniques

# Modification History

Release 1. Supersedes and equivalent to MSL975047 Apply complex instrumental techniques. Content of Element 6 integrated into Element 5. Minor changes to Performance Criteria.

# Application

This unit of competency describes the skills and knowledge to analyse samples using specialised analytical instruments that require highly-developed technical skills to operate effectively. Competency includes the ability to establish client needs for routine and non-routine samples, optimising workplace procedures and instruments for specific samples, obtaining valid and reliable data and reporting test results. Personnel are required to recognise atypical test data/results and troubleshoot common analytical procedure and equipment problems.

This unit applies to technical officers working in all industry sectors, government agencies and research laboratories. All operations and analytical methods must comply with relevant standards, appropriate procedures and/or workplace requirements. Although a supervisor may not always be present, the technical officer will follow workplace procedures that clearly describe the scope of permitted practice, including varying workplace/test procedures and communicating results to people outside the laboratory.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Pre-requisite Unit

MSL974032 Perform chemical tests and procedures

# Competency Field

Testing

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Establish client needs | 1.1 Liaise with client or sample provider to determine client needs and sample history 1.2 Match sample provided to accompanying documentation and report any discrepancies in accordance with workplace procedures 1.3 Identify non-routine samples and the possible need to vary workplace procedures 1.4 Seek advice from supervisor about any proposed variations and document all approved changes. |
| 2. Prepare samples and standards | 2.1 Obtain a representative analytical portion of the laboratory sample 2.2 Prepare sample in accordance with testing requirements 2.3 Prepare validation checks and/or calibration standards for analytical portions |
| 3. Set up and optimise instrument and sub-systems | 3.1 Perform pre-use and safety checks in accordance with workplace procedures 3.2 Assemble appropriate instrument sub-systems to construct the required analytical path 3.3 Start up and condition the instrument in accordance with workplace procedures 3.4 Check and optimise each instrument sub-system 3.5 Optimise instrumental parameters to suit sample and test requirements 3.6 Check calibration status of instrument and perform any required calibration using specified standards and procedures 3.7 Clean, care for and store equipment and consumables in accordance with workplace procedures |
| 4. Perform analysis | 4.1 Measure analyte response for standards, validation checks and samples 4.2 Conduct sufficient measurements to obtain reliable data 4.3 Return instruments to standby or shutdown condition in accordance with workplace procedures |
| 5. Process, analyse and record data | 5.1 Confirm data are the result of valid measurements 5.2 Perform required calculations and ensure results are consistent with standards or estimations and expectations 5.3 Record results with the appropriate accuracy, precision, uncertainty and units 5.4 Analyse trends in data and/or results and report out-of-specification or atypical results promptly to appropriate personnel 5.5 Troubleshoot analytical procedure or equipment problems which have led to atypical data or results 5.6 Follow procedures to ensure traceability of sample from receipt to reporting of results |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSL975047 Apply complex instrumental techniques.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa

Assessment Requirements for MSL975068 Apply complex instrumental techniques

# Modification History

Release 1. Supersedes and equivalent to MSL975047 Apply complex instrumental techniques. Content of Element 6 integrated into Element 5. Minor changes to Performance Criteria.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

used a specialised analytical instrument to analyse 3 different complex samples and obtain valid and reliable data.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

principles and concepts associated with a specialised analytical instrument’s operation and analytical procedure or test method

handling of unstable or hazardous chemicals and samples and the fragile and labile nature of biological materials

sample preparation procedures

functions of key components and sub-systems of the instrument and the effects on outputs and results of modifying instrumental variables

specialised analytical instruments

procedures for ultra-trace samples and standard preparation

tests requiring specialised analytical instruments, including:

trace analysis

non-destructive testing

multi-analyte determination

analysis involving high sample throughput

instrument sub-systems, including:

sample introduction units and auto sampling equipment

detectors and signal conditioning units

temperature control devices

software control/interface

workplace procedures for:

instrument performance optimisation

equipment operation and troubleshooting techniques

common analytical procedure and equipment problems, including:

sample introduction blockages

incomplete atomisation of analyte

poor resolution of peaks

poor sensitivity

calculation steps to give results in appropriate accuracy, precision, uncertainty and units

equipment maintenance

environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, confidentiality and security requirements of all client information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory

specialised analytical instruments, laboratory reagents and equipment

workplace procedures and test methods.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa