# Assessment Requirements for MSL975069 Apply routine spectrometric techniques

Release: 1

Assessment Requirements for MSL975069 Apply routine spectrometric techniques

# Modification History

Release 1. Supersedes and equivalent to MSL975048 Apply routine spectrometric techniques. Content of Element 6 integrated into Element 5. Minor changes to Performance Criteria.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

prepared samples using at least 3 different processes

analysed at least 3 different sample types using spectrometric techniques to obtain valid and reliable data.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

relationship of chemical structure to electromagnetic radiation absorption, spectrometric principles and concepts related to instrumentation operation and testing

use of different spectrometric methods for qualitative and quantitative analysis and preparation of specific samples relevant to job role

principles and purpose of test methods implemented (why they are used and what they demonstrate)

handling of unstable or hazardous chemicals and samples and the fragile and labile nature of materials used in job role

calculation steps to give results in appropriate accuracy, precision, uncertainty and units

function of key components of the equipment and effects on spectra of modifying and optimising instrumental variables

determination of and, if appropriate, removal of any contaminants, impurities or interfering substances

typical preparation of sample relevant to job role

workplace procedures for:

equipment operation and troubleshooting

basic equipment maintenance

common analytical procedure and equipment problems, including:

dirty or contaminated sample cells

inappropriate selection of wavelength

problems with interfering or complexing substances

incomplete atomisation of analyte

poor resolution of peaks

poor sensitivity

need to dilute samples

technological advances that include automation

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, confidentiality and security requirements of all client information, and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory

appropriate spectrometers, laboratory reagents and equipment,

workplace procedures and test methods.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa