# MSL975071 Perform food analyses

Release: 1

MSL975071 Perform food analyses

# Modification History

Release 1. Supersedes and equivalent to MSL975050 Perform food analyses. Content of Element 6 integrated into Element 5. Minor changes to Performance Criteria. Removal of content that repeats the prerequisite unit from Performance Evidence. Minor changes to Knowledge Evidence including addition of a reference to intellectual property.

# Application

This unit of competency describes the skills and knowledge to analyse the nutrient and ingredient composition of foods and the identification and quantification of both chemical and biological contaminants within raw and processed foods. These tests may involve complex sample preparation followed by multi-staged and/or multi-instrumental analysis, immunoassay and computer-based nutrient analysis.

This unit applies to laboratory technical officers and analysts working in the food and beverage processing industry sectors. All operations and analytical methods must comply with relevant standards, appropriate procedures and/or workplace requirements. The unit covers tests and procedures that are performed in a full or partially computerised and automated laboratory environment. Although a supervisor may not always be present, the technical worker will follow workplace procedures that clearly describe the scope of permitted practice, including varying workplace/test procedures and communicating results to people outside the laboratory.

No licensing or certification requirements exist at the time of publication. However, regulations and/or external accreditation requirements for laboratory operations exist, so local requirements should be checked. Relevant legislation, industry standards and codes of practice within Australia must also be applied.

# Pre-requisite Unit

MSL974033 Perform food tests

# Competency Field

Testing

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Establish client needs | 1.1 Liaise with client or sample provider to determine client needs and sample history 1.2 Match sample provided to accompanying documentation and report any discrepancies in accordance with workplace procedures 1.3 Identify non-routine samples and the possible need to vary workplace procedures 1.4 Confirm any proposed variations and document approved changes |
| 2. Prepare samples and standards | 2.1 Obtain a representative analytical portion of the laboratory sample 2.2 Prepare sample in accordance with testing requirements 2.3 Prepare validation checks and/or calibration standards for analytical portion 2.4 Use specialised procedures for ultra-trace sample and standard preparation |
| 3. Set up and optimise instrument | 3.1 Perform pre-use and safety checks in accordance with workplace procedures 3.2 Start up and condition the instrument in accordance with workplace procedures 3.3 Optimise instrumental parameters to suit sample and test requirements 3.4 Check calibration status of instrument and perform calibration using specified standards and procedures 3.5 Clean, care for and store equipment and consumables in accordance with workplace procedures |
| 4. Perform analysis | 4.1 Measure analyte response for standards, validation checks and samples 4.2 Conduct sufficient measurements to obtain reliable data 4.3 Return instruments to standby or shutdown condition 4.4 Store unused/prepared laboratory samples for future reference in accordance with workplace procedures |
| 5. Process, analyse and record data | 5.1 Use controls and reference standards to confirm the integrity of biomolecular sample preparation and procedures 5.2 Troubleshoot basic procedure, reagent or equipment problems which have led to atypical data or results 5.3 Record and/or check data in accordance with workplace procedures 5.4 Follow procedures to ensure traceability of sample from receipt to reporting of results |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Numeracy skills to:

calculate analyte concentrations using appropriate equations, units, uncertainties and precision.

Other foundation skills essential to performance are explicit in the performance criteria of this unit.

# Unit Mapping Information

Supersedes and equivalent to MSL975050 Perform food analyses.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa

Assessment Requirements for MSL975071 Perform food analyses

# Modification History

Release 1. Supersedes and equivalent to MSL975050 Perform food analyses. Content of Element 6 integrated into Element 5. Minor changes to Performance Criteria. Removal of content that repeats the prerequisite unit from Performance Evidence. Minor changes to Knowledge Evidence including addition of a reference to intellectual property.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

prepared and analysed the nutrient and ingredient composition of 2 different foods containing a minimum of 2 different ingredients in each using at least 1 of the following analytical instruments:

spectrometric instruments

chromatographic techniques and instruments

gas chromatography mass spectroscopy (GC-MS)

electrophoretic techniques

electrometric techniques

accurately identified and quantified chemical and biological contaminants in at least 1 raw food sample and at least 1 processed food sample.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

scope and purpose of analysing nutritional/ingredient composition, including:

optimising production processes

nutritional information

labelling requirements

food safety

establishment, monitoring and troubleshooting of the hazard analysis and critical control point (HACCP) process

analyses commonly used for additive and nutrient composition and identification of contaminants

general composition of common food and/or beverages relevant to the job role

key food processing and preservation techniques, packaging and controlled atmosphere storage and their effect on nutrients

food labelling regulations and their implications for nutritional claims

sample preparation methods and correct storage conditions for specific food samples and tests relevant to job role

principles and purpose of test methods implemented (why they are used and what they demonstrate)

technological advances that include automation

function of key components of the equipment/instrument used and effects of modifying equipment/instrument variables on tests

identification of any hazards associated with the samples and/or analytical chemicals

basic procedure and equipment troubleshooting techniques, including:

equipment maintenance procedures

calculation steps to give results in appropriate units and precision

sources of error in specific tests and reproducibility and accuracy of commonly used test method for nutrient analysis

impact of public perception of food safety and nutrition on food analysis

requirements including genetically modified foods, food irradiation, antibiotics and specific nutrient composition

nature, structure and function of food additives

food allergies and intolerances

glycaemic index (GI) and its significance

significance of digestion and absorption of macro and micro-nutrients in food and the implications of food additives and fortification on absorption of nutrients,

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task including traceability, intellectual property, confidentiality and security of client information and laboratory data and records.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory with appropriate analytical instruments, laboratory reagents, equipment and samples

workplace procedures and test methods.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa