# Assessment Requirements for MSL976006 Evaluate and select appropriate test methods and/or procedures

Release: 1

Assessment Requirements for MSL976006 Evaluate and select appropriate test methods and/or procedures

# Modification History

Release 1. Supersedes and equivalent to MSL976005 Evaluate and select appropriate test methods and/or procedures. Minor changes to Performance Criteria. Some mathematical content moved from Foundation Skills to Knowledge Evidence. Some items removed from Knowledge Evidence requirements around common types of tests and procedures to allow for broader application.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

evaluated and selected test methods and/or procedures for at least 2 different items or laboratory processes.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

principles, concepts and workplace and regulatory requirements related to method selection

regulatory and licensing requirements related to selected test methods

scientific and technical principles underpinning test method and their application to selection of testing methods for different materials

the role and importance of accuracy, precision, uncertainty, linearity, selectivity, range, limit of detection and matrix characteristics in method selection

calculation steps for data analysis and estimation of uncertainties for selected test methods

significance of normal, physiological or reference ranges

common types of tests and procedures relevant to the job role

drivers for the evaluation and selection of test methods and procedures

factors that typically influence method evaluation and selection, including:

quantity and nature of sample available for testing

levels of detection required

type of matrix, possible contaminants and resulting interference

safety

availability of suitable equipment, instruments and availability of trained staff

cost

selectivity of method, range, accuracy, precision and acceptable uncertainty

whether it is appropriate/ethical to perform the test

balancing customer, workplace and/or regulatory/licensing requirements

workplace and/or legal traceability requirements

awareness of environmental sustainability issues as they relate to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate equipment, analytical instruments and reagents

Australian and international regulatory standards relevant to scope of laboratory operations

workplace procedures, including test methods.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa