# Assessment Requirements for MSL977011 Troubleshoot equipment and/or production processes

Release: 1

Assessment Requirements for MSL977011 Troubleshoot equipment and/or production processes

# Modification History

Release 1. Supersedes and equivalent to MSL977007 Troubleshoot equipment and/or production processes. Minor changes to Application and Performance Criteria.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

troubleshot at least 2 different pieces of testing equipment and/or testing issues related to production processes, to identify causes of problems and recommended corrective actions.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

principles and concepts that underpin operation of testing equipment and test methods

overall characteristics, capabilities and limitations of testing equipment and its components

functions of key equipment components and sub-systems and effects on outputs and results of modifying variables

possible effects of matrix and impurities on analytical methods

effects on outputs and results of varying test procedure and/or modifying test materials or reagents

troubleshooting procedures and elimination techniques for isolating causes of problems

mathematical and statistical procedures for evaluating test data

workplace requirements for problem investigation and reporting

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate equipment, samples, reagents and test methods

performance data, calibration and maintenance records relevant to investigation

workplace procedures.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa