# Assessment Requirements for MSL977012 Develop or adapt analyses and procedures

Release: 1

Assessment Requirements for MSL977012 Develop or adapt analyses and procedures

# Modification History

Release 1. Supersedes and equivalent to MSL977008 Develop or adapt analyses and procedures. Minor changes to Performance Criteria. Performance Evidence simplified.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

developed or adapted a method of analysis of an item or process, and all related methods and procedures to meet workplace and regulatory requirements, for at least 1 of the following:

non-instrumental method

spectrometric method

chromatographic method

electrochemical method

assays based on biological properties or cell properties for enzyme antibody activity

any complex method.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

concepts relating to method and procedure development, including:

determining and defining development objectives

relating chemical and physical characteristic of sample to possible assay methods

evaluating criteria to choose appropriate analytical method

sample clean-up and preparation techniques

preparation, set-up and calibration of testing equipment

choice of appropriate detection system ensuring accuracy/precision criteria are achieved

optimisation of analysis conditions

criteria for choice of method and procedure, including:

economic factors

safety considerations

resource factors, including equipment and personnel

regulatory, accreditation and registration considerations

detailed theoretical and practical basis of analyses relevant to job role

operating principles and practices and characteristics, capabilities and limitations of testing equipment used

relative advantages and disadvantages of different testing methods

reasons for new methods of analysis and related procedures being developed, including:

analysis of raw materials

introduction of new technology

quality control or evaluation of the stability of new formulations of existing products

quality control or evaluation of the stability of products

to meet regulatory requirements

procedures and requirements for method and procedure development, validation and approval

awareness of environmental sustainability issues as they relate to the work task

legal, ethical and work health and safety (WHS) requirements specific to the work task.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a standard laboratory equipped with appropriate equipment, instruments, reagents, samples and test methods

workplace procedures

online data search facilities.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

MSL Laboratory Operations Companion Volume Implementation Guide is available from VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5c63a03b-4a6b-4ae5-9560-1e3c5f462baa