# Assessment Requirements for MSMOPS101 Make measurements

Release: 2

Assessment Requirements for MSMOPS101 Make measurements

# Modification History

Release 2. Equivalent. Minor edits for improved clarity. Range of conditions removed. Duplication between Performance Evidence and Performance Criteria removed. Assessment conditions updated.

Release 1. Supersedes and is equivalent to MSAPMOPS101A Make measurements.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

performed and recorded at least 1 of the following workplace measurements:

extent

dimension

quantity

mass

capacity

capability

responded to routine and non-routine measuring problems in accordance with organisation procedures

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

basic units of measurement, including

kilogram

metre

second

types of measuring devices, including how, when and why they are used

purpose of equipment calibration and methods of checking equipment is within calibration

routine problems that may arise in the work environment and corrective action and reporting procedures appropriate to the problem cause.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

measuring devices and equipment

calibration procedures

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=d1287d36-dff4-4e9f-ad2c-9d6270054027