# Assessment Requirements for MSMPMC313 Schedule, cut and bend reinforcement

Release: 1

Assessment Requirements for MSMPMC313 Schedule, cut and bend reinforcement

# Modification History

Release 1. New unit. Supersedes and is equivalent to PMC552050 Schedule, cut and bend reinforcement

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

scheduled, cut, bent and tagged reinforcement on at least 1 occasion, including:

monitoring the following key variables to ensure product integrity and conformance to specification:

shape

dimensions

dimensional tolerance

steel coverage

recognising possible causes of the following routine problems:

raw material variations

equipment malfunctions

design problems

fabrication errors.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

common types of reinforcement

legislative or regulatory requirements relevant to job role

automatic and semi-automatic reinforcement and ancillary equipment, including:

functions, limitations

principles of operation

the potential effects of equipment operation in relation to quality of product

validation of test certificates

reinforcement design drawings, schedules and tags

the potential effects of variations in raw materials in relation to quality of product

quality testing requirements

routine problems, their probable causes and relevant corrective actions

reinforcement hazards and:

their possible causes

potential consequences

risk control procedures.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

reinforcement equipment and ancillary equipment

plans, specifications, procedures and job sheets

modelling of industry operating conditions, including:

routine and non-routine problems.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=d1287d36-dff4-4e9f-ad2c-9d6270054027