# Assessment Requirements for MSMPMC318 Assemble, fabricate and place reinforcement

Release: 1

Assessment Requirements for MSMPMC318 Assemble, fabricate and place reinforcement

# Modification History

Release 1. New unit. Supersedes and is equivalent to PMC552056 Assemble, fabricate and place reinforcement

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

assembled, fabricated and fixed reinforcement on at least 1 occasion, including:

monitoring the following key variables to ensure product integrity and conformance to specification:

shape

dimensions

dimensional tolerance

grade of steel

placement of fittings and lifting lugs

steel coverage

security and stability of fixing reinforcement in place

minimum lap sizes

recognising possible causes of the following routine problems:

raw material variations

equipment malfunctions

design problems

fabrication errors.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

common types and application of reinforcement

reinforcement equipment, including:

functions, limitations

principles of operation

the potential effects of equipment operation in relation to quality of product

predicting final shape and dimension based on bar size and type and bend radius

design factors

fabrication methods

validation of test certificates

reinforcement design drawings

reinforcement tags

the potential effects of variations in raw materials in relation to quality of product

routine problems and factors which may affect product quality or production output, their probable causes and relevant corrective actions

work health and safety (WHS) requirements relevant to work outcome

hazards when working with reinforcements and:

their possible causes

potential consequences

risk control procedures.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

reinforcement equipment and ancillary equipment

specifications, procedures and job sheets

modelling of industry operating conditions, including:

routine and non-routine problems.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=d1287d36-dff4-4e9f-ad2c-9d6270054027