# MSMPMC318 Assemble, fabricate and place reinforcement

Release: 1

MSMPMC318 Assemble, fabricate and place reinforcement

# Modification History

Release 1. New unit. Supersedes and is equivalent to PMC552056 Assemble, fabricate and place reinforcement

# Application

This unit describes the skills and knowledge required to assemble, fabricate and place reinforcement.

This unit applies to operators who are required to take responsibility for own outputs and follow established procedures to interpret plans (steel drawings), fabricate the reinforcement from pre-cut and bent steel and place and secure reinforcement. Operators are also required to work autonomously and apply their own judgement to interpret information; monitor processes; identify and address routine and non-routine problems and control hazards.

This unit applies to an individual working alone or as part of a team or group and in liaison with other shift team members, team leader and supervisor.

No licensing or certification requirements exist at the time of publication. Relevant legislation, industry standards and codes of practice within Australia must be applied.

# Pre-requisite Unit

Nil

# Competency Field

Operations

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare for fabrication | 1.1 Check quantities, type, size and shape of reinforcement supplied against drawings, tags and schedules 1.2 Prepare jigs and/or other assembly aids |
| 2. Assemble and fabricate reinforcement | 2.1 Assemble reinforcement using appropriate fixing method 2.2 Check final dimensions are to specification 2.3 Insert lifting devices, lugs, fittings, bar chairs and nibs according to standard operating procedures (SOPs) 2.4 Check minimum lap sizes are observed 2.5 Complete cage to enable lifting if assembled outside the mould 2.6 Report any non-compliance 2.7 Follow all work health and safety (WHS) procedures and work instructions |
| 3. Rectify routine problems | 3.1 Identify and rectify faults and equipment failure 3.2 Maintain records and log books of equipment operations 3.3 Identify non-routine problems and report to designated person |
| 4. Control hazards | 4.1 Identify reinforcement work hazards 4.2 Assess the risks arising from those hazards 4.3 Implement measures to control those risks |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance.

Numeracy skills to:

do basic arithmetical manipulations, including additions, subtractions, divisions, fractions and percentages

make calculations from steel drawings

measure reinforcement to specification

Other foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Release 1. New unit. Supersedes and is equivalent to PMC552056 Assemble, fabricate and place reinforcement

# Links

Companion Volume Implementation Guides are available at VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=d1287d36-dff4-4e9f-ad2c-9d6270054027