# MSMRV372 Rough-in and fit-off recreational vehicle water systems

Release: 1

MSMRV372 Rough-in and fit-off recreational vehicle water systems

# Modification History

Release 1. Supersedes and is equivalent to MSMRV312 Fit water systems in a recreational vehicle. Changes to application, elements, performance criteria and assessment requirements. Range of conditions removed.

# Application

This unit describes the skills and knowledge required to rough-in water systems in recreational vehicles including installing water tanks (such as freshwater, greywater and blackwater tanks) and roughing-in pipes (such as water tubes, drain lines and vent tubes) from water supply points to drainage points. It also describes the skills and knowledge required to fit-off water systems in recreational vehicles, including installing fittings (such as fill ports, filters, pumps, shower heads, spouts, stop taps and other taps, strainers, toilets and traps) and testing the water system.

The unit applies to a person working in a recreational vehicle manufacturing facility who undertakes routine tasks according to job instructions, plans/specifications and procedures and with discretion and judgement in selecting equipment, services and contingency measures. They work with a high degree of self-direction and limited supervision. They apply known solutions to routine problems and report non-routine problems according to procedures. They are responsible for their output and have limited responsibility for the output of others.

Licensing and/or certification requirements may apply to some or all of this unit’s elements, depending on the state/territory. Relevant legislation, industry standards and codes of practice within Australia must be applied.

# Pre-requisite Unit

None

# Elements and Performance Criteria

| Elements | Performance Criteria |
| --- | --- |
| Elements describe the essential outcomes. | Performance criteria describe the performance needed to demonstrate achievement of the element. |
| 1. Prepare to rough-in and fit-off water systems | 1.1 Identify water system rough-in and fit-off requirements from job instructions 1.2 Select and check all required tools and equipment are ready to use 1.3 Gather water system and other items required by job specifications, and check they meet quality requirements and are ready for installation 1.4 Identify hazards and hazard controls and check the hazard controls are in place and operating 1.5 Check the recreational vehicle and work area are ready for roughing-in and fitting-off the water system |
| 2. Install tanks | 2.1 Confirm the tank locations from the job instructions 2.2 Install sensors to the tanks according to workplace procedures 2.3 Install tank supports, brackets and tanks according to workplace procedures 2.4 Check finished installation according to job instructions and quality requirements and rectify any deficiencies |
| 3. Rough-in water systems | 3.1 Run pipes from water sources to fitting-off locations as specified in pipe plans 3.2 Cut pipes to length, install joiners and connectors and fasten pipes in position according to workplace procedures 3.3 Connect pipes to water sources. |
| 4. Fit-off water systems | 4.1 Correctly position and fasten the water system fittings according to job specifications and manufacturer’s instructions 4.2 Fit and seal drainage pipes to fit-off items to ensure water tightness |
| 5. Test water systems | 5.1 Test the mains water inlet and water pump, and rectify any leaks 5.2 Pressure-test pipes and water system fittings, and rectify any leaks 5.3 Test drains and rectify any faults or leaks |
| 6. Complete the rough-in and fit-off according to workplace procedures | 6.1 Clean up the recreational vehicle in readiness for the next task 6.2 Clean up the work area, identify items for recycling and dispose of waste 6.3 Identify, tag and report any damage to equipment and tools 6.4 Check, clean and do routine maintenance on equipment and tools and store them and unused materials 6.5 Complete task outcome documentation |

# Foundation Skills

This section describes those language, literacy, numeracy and employment skills that are essential to performance but not explicit in the performance criteria.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Unit Mapping Information

Supersedes and is equivalent to MSMRV312 Fit water systems in a recreational vehicle.

# Links

Companion volume implementation guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=d1287d36-dff4-4e9f-ad2c-9d6270054027