# Assessment Requirements for MSMTMINS404 Inspect a range of pre-packaged products

Release: 2

Assessment Requirements for MSMTMINS404 Inspect a range of pre-packaged products

# Modification History

Release 2. Adjustments to Application, Performance Criteria and Range of Conditions. Equivalent.

Release 1. Supersedes and is equivalent to MSATMINS404A Inspect a range of pre-packaged products

# Performance Evidence

Evidence of competence in this unit must satisfy all of the requirements of the elements and performance criteria, and include demonstration of:

inspecting pre-packaged articles on at least three (3) occasions

applying each of the following eight (8) methods for measuring pre-packaged products and identifying short measure:

gravimetric mass method

volumetric method

gravimetric volume method

substitution method

displacement method

mass per unit method

volumetric method for garden landscaping material

frozen fish method

accessing and correctly interpreting documents for the inspection of pre-packaged articles, including national measurement legislation, National Instrument Test Procedures and National Measurement Institute (NMI) inspection policy

ensuring test equipment and reference standards are fit for purpose in accordance with applicable legislation and organisational procedures

planning, preparing for and safely conducting inspections to maximise outcomes and minimise disruption to the public and trader

assessing measurement, unit pricing and packer identification markings on pre-packaged products for compliance with legislative requirements

determining if the net contents of individual pre-packaged products and an inspection lot meet legislative requirements

assessing the effectiveness of the trader’s measurement procedure, methodology and test frequency against inspection outcomes

checking compliance and evaluating the performance of measuring instruments using appropriate Certificates of Approval, NMI policy and National Instrument Test Procedures, and adjusting for any impact of the operating environment

reliably determining if measuring instruments are suitable for trade use in accordance with legislative requirements

recognising and acting on non-compliance of trading practices or measuring instruments with national measurement legislation and initiating appropriate enforcement action

demonstrating professionalism and respecting the rights of the trader at all times

using advanced communication and negotiation skills to:

explain the purpose of inspection

inform traders of non-compliances and consequences of failing to rectify them

access external equipment and resources to complete the inspection

explain inspection procedures and outcomes to traders and managers

performing specified calculations involving:

fractions, decimals, ratios, proportions and percentages

scientific notation, correct units and the correct number of significant figures

interpretation of statistical quantities, such as mean, median, mode, range, variance and standard deviation

maintaining the security and confidentiality of data in accordance with organisational and regulatory requirements

reporting results in the required formats and expected timeframe

working safely.

# Knowledge Evidence

Must provide evidence that demonstrates knowledge of:

general physical principles and concepts, including weight, mass, gravity, volume, length, area and displacement

metrological terms and terminology, including maximum permissible errors, traceability, uncertainty, inspection lot, deficiency and shortfall

national measurement legislation applicable to inspection of pre-packaged products and measuring instruments

safe work method statements (SWMS) for a range of trading environments

NMI policy requirements, including test procedure variations between a verification, in-service or audit inspection, bulletins, instructions and determinations

National Instrument Test Procedures and operating procedures for the equipment, and reference standards used in job role, including:

test conditions and possible environmental impacts on performance of the instrument

key preparation/measurement steps in test method

calculation steps to give results in appropriate units and precision

maximum permissible errors for measuring instruments under inspection

safety principles and procedures relevant to measuring instruments and inspections

organisational policy and procedures for inspection of trading practices including completing inspection documentation

organisational safety procedures and requirements of applicable Commonwealth, state and territory work/occupational health and safety (WHS/OHS) legislation

basic first aid and site safety induction, if required.

# Assessment Conditions

Judgement of competence must be based on holistic assessment of the evidence. Assessment methods must confirm consistency of performance over time, rather than a single assessment event.

This unit of competency should be assessed in the workplace, or a simulated workplace environment. A simulated workplace environment must reflect realistic operational workplace conditions that cover all aspects of workplace performance, including the environment, task skills, task management skills, contingency management skills and job role environment skills.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Knowledge evidence may be collected concurrently with performance evidence or through an independent process such as workbooks, written assessments or interviews (provided a record is kept in each case).

This unit of competency may be assessed with:

MSMTMREF301 Use and maintain reference standards

MSMTMINS401 Inspect a range of weighing instruments

MSMTMINS402 Inspect liquid measuring instruments using volume measures

MSMTMINS403 Inspect a range of trading practices

Holistic assessment methods include:

review of inspection reports prepared by the candidate

feedback from supervisors and peers regarding the candidate’s ability to inspect a range of pre-packaged products and evaluate a trader’s measuring procedures and instruments in accordance with legislative and organisational procedures

questions to assess understanding of relevant procedures, licensing requirements, trader obligations and remedial actions

review of candidate’s responses to inspection scenarios, such as potential/actual non-compliances and appropriate actions, common issues and problems

observation of the candidate conducting an inspection of a trader’s range of pre-packaged products, measuring procedures and instruments.

Access is required to instruments, equipment, materials, workplace documentation, procedures, and specifications associated with this unit including, but not limited to:

latest versions of appropriate documentation, such as Certificates of Approval, NMI policy, National Instrument Test Procedures for inspection of pre-packaged products, trader measurement procedures and measuring instruments, and relevant legislation

equipment manuals, material safety data sheets (MSDS), safety procedures and safety equipment

records, such as test reports; audit reports; instrument history and test results

measuring instruments, test equipment and reference standards

computer and relevant software and/or organisation information management system.

Assessors must satisfy the assessor competency requirements that are in place at the time of the assessment as set by the VET regulator.

The assessor must demonstrate both technical competency and currency.

Technical competence can be demonstrated through:

relevant VET or other qualification/Statement of Attainment AND/OR

relevant workplace experience in trade measurement at least to the level being assessed and broad industry knowledge (such as a relevant industry qualification)

Currency can be demonstrated through:

performing the competency being assessed as part of current employment in trade measurement OR

having consulted with trade measurement inspectors and/or verifiers performing the competency being assessed within the last twelve months.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=d1287d36-dff4-4e9f-ad2c-9d6270054027