# Assessment Requirements for MSMWHS210 Undertake first response to non-fire incidents

Release: 2

Assessment Requirements for MSMWHS210 Undertake first response to non-fire incidents

# Modification History

Release 2.  Addition of information missing from the Assessment Requirements. Equivalent.

Release 1. Supersedes and is equivalent to MSAPMOHS210B Undertake first response to non-fire incidents

# Performance Evidence

Evidence required to demonstrate competence in this unit must be relevant to and satisfy the requirements of the elements and performance criteria and demonstrate the ability to:

recognise and assess incident situations

determine appropriate actions according to procedures and within scope of own responsibilities, including:

evacuate (self/others)

seek assistance as appropriate

apply control measures

select and use incident response equipment

select and use personal protective equipment (PPE)

implement corrective action

minimise the effect of an incident situation

communicate clearly and unambiguously with a range of personnel on incident situations, related problems and safety and emergency procedures.

# Knowledge Evidence

Evidence must be provided that demonstrates knowledge of:

types and application of incident response equipment

principles of operation of the incident response equipment

types and application of PPE

roles and responsibilities of internal and external personnel in relation to incident situations

communicating methods appropriate to role

appropriate responses to different non-fire situations.

# Assessment Conditions

Competency must be achieved before performing this work unsupervised. Therefore this unit will typically be assessed off the job. Where assessment is undertaken on the job, appropriate supervision and safety precautions must be provided.

The unit should be assessed holistically and the judgement of competence based on a holistic assessment of the evidence.

The collection of performance evidence:

should provide evidence of the ability to perform over the range of situations which might be expected to be encountered, including typical disruptions to normal, smooth work conditions

must include the use of appropriate incident containment  tools, equipment, media and safety gear requiring demonstration of preparation, operation, completion and responding to problems

must include responding to an actual spill or other incident in a simulated industrial situation and so may need to occur in a specialised area.

Off-the-job assessment must sufficiently reflect realistic operational workplace conditions that cover all aspects of workplace performance, including environment, task skills, task management skills, contingency management skills and job role environment skills.

Knowledge evidence will be collected independently of the above practical assessment and may use workbooks, written assessments, interviews (provided a record is kept) or other methods.

Assessment processes and techniques must be appropriate to the language, literacy and numeracy requirements of the work being performed and the needs of the candidate.

Conditions for assessment must include access to all tools, equipment, materials and documentation required, including relevant workplace procedures, product and manufacturing specifications associated with this unit.

The regulatory framework will be reflected in workplace policies and procedures and is not required to be independently assessed.

Persons seeking verification of competence/retraining must meet the same evidence requirements as above.

Foundation skills are integral to competent performance of the unit and should not be assessed separately.

As a minimum, assessors must satisfy the Standards for Registered Training Organisations 2015 assessor requirements.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=d1287d36-dff4-4e9f-ad2c-9d6270054027