# Assessment Requirements for MSMWJ305 Operate a drain cleaning system

Release: 1

Assessment Requirements for MSMWJ305 Operate a drain cleaning system

# Modification History

Release 1. Supersedes and is not equivalent to MSMWJ302 Operate a drain cleaning system. Unit code changed. Application amended. Elements and Performance Criteria changed. Range of Conditions removed. Assessment Requirements changed.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and demonstrated the ability to:

autonomously assemble and operate drain cleaning equipment that meets the requirements of a Class B system as defined by AS 4233.1 High pressure water jetting systems – Part 1: Safe operation and maintenance to complete:

one drain cleaning operation AND

one drain clearing (choke/blockage) actual or simulated operation on a drainage system

use two different types of nozzles/heads across the above operations.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

existence and purpose of AS 4233.1 High pressure water jetting systems – Part 1: Safe operation and maintenance and Safe Work Australia Guide for Managing Risks from High Pressure Water Jetting

system controls required by AS 4233.1 High pressure water jetting systems – Part 1: Safe operation and maintenance and Safe Work Australia Guide for Managing Risks from High Pressure Water Jetting

hazards and hazard controls specific to the operation of drain cleaning equipment, including:

physical hazards

stored energy hazards

working environment hazards

environmental protection considerations for drain cleaning operations

techniques and methodology of drain cleaning for drainage systems

principles of operation of drain cleaning equipment and its component items, including:

positive displacement pump

motive power

hoses

nozzles

starter bars

anti-withdrawal devices

easement reel

equipment variables, including:

hose type, size and restraints

nozzle type

pressure and flow required

units of measurement used in drawings and their practical application for equipment selection

graphics and symbols used on drawings

relationship between views contained in drawings

correct methods of starting up, shutting down, operating and controlling drain cleaning equipment and its component items by type and application

communication systems used between operators, including hand signals

operational parameters and limits of equipment

types and causes of known problems for drain cleaning and its components and corrective action appropriate to the problem cause

importance of monitoring and controlling job conditions

methods for monitoring job variables, and the appropriate corrective actions

types of situations that require:

activation of an emergency stop

stopping work until a situation is resolved

procedures for:

raising the alarm (when, how, who to)

responding to injury

routine cleaning and servicing requirements for drain cleaning equipment

types of waste generated and procedures for safe disposal.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies.

The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

drain cleaning system and other tools and materials to complete tasks specified in the performance evidence

safety and personal protective equipment (PPE)

job documentation.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=d1287d36-dff4-4e9f-ad2c-9d6270054027