# Assessment Requirements for MSS015040 Conduct a sustainability energy audit

Release: 1

Assessment Requirements for MSS015040 Conduct a sustainability energy audit

# Modification History

Release 1. Unit code changed. Application changed. Elements changed. Performance Criteria changed. Foundation Skills populated. Rang of Conditions removed. Assessment Requirements changed. Supersedes and is equivalent to MSS015011 Conduct a sustainability energy audit.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and demonstrated the ability to:

determine energy usage and wastage for at least 3 items of plant and/or equipment in a process drawn from:

mobile plant

fixed plant

industrial equipment

office equipment

•	heating, ventilation and air conditioning unit

develop at least 1 recommendation to improve energy usage for each item.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

basic physics of energy types and measuring and calculating energy efficiency

energy balancing techniques for process and process steps (sometimes known as heat balancing)

calculating theoretical use of energy

methods of measuring actual process amount/flows

current and emerging approaches to energy waste reduction and energy efficiency in the industry or sector and related costs and effectiveness

cost-benefit analysis

regulatory and reporting requirements relevant to energy use and the industry.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources

modelling of industry operating conditions.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are found in VETNet – - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5b04f318-804f-4dc0-9463-c3fb9a3fe998