# Assessment Requirements for MSS015049 Conduct a sustainable water use audit

Release: 1

Assessment Requirements for MSS015049 Conduct a sustainable water use audit

# Modification History

Release 1. Unit code changed. Application changed. Elements changed. Performance Criteria changed. Foundation Skills populated. Assessment Requirements changed. Workplace outcome changed. Supersedes and is not equivalent to MSS015028 Conduct a sustainable water use audit.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and demonstrated the ability to:

conduct a water use audit for at least one organisation, a significant part of an organisation or part of the value chain

develop at least 3 recommendations for improving water usage.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

specific water usages within production or operational processes undertaken by the organisation

external sources of water

internal water sources including natural water sources, water capture and water generated by process

characteristics of categories of water quality and applications relevant to the industry including:

deionised/highly treated

potable water

groundwater

waterway/reservoir

recycled water

grey water

black water

wastewater

strategies and methodologies for determining water quality

strategies and sources of advice for determining impact of changes to water usage or quality

principles of circularity and/or closed loop

circular approaches to reducing waste

methods of cost-benefit analysis

current and emerging approaches to quantifying and evaluating costs, benefits, impacts and risks in relation to sustainability, including direct, indirect and intangible factors

sustainability-related regulatory and reporting requirements relevant to the industry

sustainability-related voluntary standards, codes, reporting frameworks, certification and co-regulatory arrangements relevant to the industry.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

access to data on water supply and usage

modelling of industry operating conditions.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are available from VETNet - - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5b04f318-804f-4dc0-9463-c3fb9a3fe998