# Assessment Requirements for MSS024021 Assist with assessing and monitoring stormwater systems

Release: 1

Assessment Requirements for MSS024021 Assist with assessing and monitoring stormwater systems

# Modification History

Release 1. Updated unit code. Changes to performance criteria. Range of conditions removed. Assessment requirements amended. Equivalent outcome.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

planned and safely conducted surveys, inspections or audits of at least 2 stormwater systems and reported current system conditions.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

terminology and principles of stormwater management

basic design of stormwater transport systems, constructed wetlands and flood mitigation structures

sources of stormwater system information

specific legislation, policies and guidelines relevant to stormwater survey, inspection and audit activities

stormwater management purpose, plan and techniques

catchment physical, social, waterway and ecological characteristics

catchment values

fundamental principles of ecology and assessment of site environmental indicators

environmental factors that impact on soils, water quality, population and diversity of flora and fauna

specified procedures, methods and equipment for collecting soil, water and (micro) biological samples

procedures and equipment for maintaining, storing and transporting samples and specimens to ensure their wellbeing, viability and integrity

procedures and equipment for basic water flow and quality measurements

calculation of simple flow rates, scientific quantities, estimated uncertainties and unit conversion factors

workplace procedures for recording field data and reporting requirements

protocols for the confidentiality and security of information and communicating with the community and media

hazards, health, safety and environment requirements for work role.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of facilities, equipment and resources, including:

access to natural and constructed drainage systems and combinations of these

relevant sampling equipment, field instruments and materials

documentation, including stormwater system information, environmental data sets, user manuals, workplace safety procedures and test or survey methods

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

The MSS Sustainability Companion Volume implementation Guides are available from VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5b04f318-804f-4dc0-9463-c3fb9a3fe998