# Assessment Requirements for MSS024028 Process and present environmental data

Release: 1

Assessment Requirements for MSS024028 Process and present environmental data

# Modification History

Release 1. Unit code changed. Application changed. Performance Criteria changed. Foundation Skills populated. Assessment Requirements changed. Supersedes and is equivalent to MSS024016 Process and present environmental data.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and demonstrated the ability to:

calculate scientific and statistical quantities including at least 8 of the following:

converting units involving multiples and submultiples

scientific notation, significant figures, round off, estimate and approximate

transposing and evaluating formulae

fractions, decimals, proportions and percentages

percentage and absolute uncertainties in measurements and test results

statistical values of data, including mean, median, mode and standard deviation

perimeters, angles, areas (m2) and volumes (mL, L, m3) of regular shapes

dose (mg), average mass, mass percentage, density, specific gravity, moisture, relative and absolute humidity, viscosity and permeability

ratios

concentration

average count, colonies per swab surface and cell counts

variables

biological oxygen demand (BOD), chemical oxygen demand (COD) and total organic carbons (TOC)

percentage content of moisture, sulphur dioxide and trace metals

interpret data to identify:

significant data points

variations

trends

anomalies.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

scientific and technical terminology relevant to job role

procedures for coding, entering, storing, retrieving and communicating data

international system of units (SI)

concepts of metrology, including:

all measurements are estimates

repeated measurements belong to a sample of the measured parameter

repeatability, precision, accuracy, significant figures

sources of error and uncertainty associated with measurement steps

traceability

procedures for verifying data and rectifying mistakes

procedures for maintaining and filing records and maintaining security of data

variations and trends in data (including seasonal, diurnal, location and non-conformance).

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

environmental data sets and records

workplace procedures for recording, processing, storing and reporting environmental data

test or survey methods

modelling of industry operating conditions.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5b04f318-804f-4dc0-9463-c3fb9a3fe998