# Assessment Requirements for MSS025021 Collect and evaluate groundwater data

Release: 1

Assessment Requirements for MSS025021 Collect and evaluate groundwater data

# Modification History

Release 1. Updated unit code. Changes to elements and performance criteria. Range of conditions removed. Assessment requirements amended. Equivalent outcome.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

collected representative samples of groundwater in accordance with a site sampling plan for at least 2 sites

measured bore conditions and conducted reliable field tests of groundwater parameters on at least 2 sites

processed and interpreted groundwater data for at least 2 sites.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

terminology used to describe aquifers, drilling and construction of wells and bores, and groundwater sampling and testing procedures

principles of representative sampling and field testing of common groundwater parameters

preservation of the integrity of samples

maintaining identification of samples relative to their source, workplace and legal traceability requirements

typical values of groundwater parameters, common pollutants and contaminants

links between quality control, quality assurance, quality management systems and sampling procedures

workplace procedures dealing with legislative requirements for the handling, labelling and transport of hazardous goods

site hazards, links between safe work procedures and personal and environmental safety, particularly at high risk sites.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of facilities, equipment and resources, including:

vehicle transport, sampling equipment, field test equipment, digital camera, containers, reagents, consumables

safe work procedures and safety equipment

workplace procedures, work program, maps, site plans, site sampling plans and test methods, and equipment manuals

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

The MSS Sustainability Companion Volume implementation Guides are available from VETNet: - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5b04f318-804f-4dc0-9463-c3fb9a3fe998