# Assessment Requirements for MSS025035 Perform sampling and testing of soils

Release: 1

Assessment Requirements for MSS025035 Perform sampling and testing of soils

# Modification History

Release 1. Unit code changed. Application changed. Performance Criteria changed. Foundation Skills populated. Assessment Requirements changed. Supersedes and is equivalent to MSS025022 Perform sampling and testing of soils.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and demonstrated the ability to:

collect, preserve and label a set of representative air samples for at least one site in accordance with sampling plan

prepare soil (sub)samples and conduct the following, using specified test methods:

2 field tests, including one chemical and one physical test

2 laboratory tests, including one chemical and one physical test

process and interpret data from at least 2 tests, including estimation of measurement uncertainty.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

scientific terminology used in job role covering soil sampling and testing

fundamentals of soil morphology, including soil profiles, horizons, structure and texture, and mineralogy

chemical and physical soil testing

(Australian) soil classification system

fundamentals of soil formation

land use and soil systems (interactions and impacts), including plant-soil interactions, soil fertility, soil contamination and remediation

fundamentals of geomorphology, including erosion and mass wasting, transportation and deposition, sedimentation; fluvial, aeolian, hillslope and weathering processes

fundamentals of soil chemistry, including soil salinity

physical and/or engineering soil properties, including:

colour (Munsell chart)

liquid and plastic limits

linear shrinkage

soil particle density

particle size distribution

dispersion and Emerson class number

fundamentals of sampling, including:

sampling plans and site selection

principles of representative samples

principles and procedures for random, systematic, stratified and composite sampling, including consistency of sampling procedures

preservation of the integrity of samples

maintaining identification of samples relative to their source, workplace and legal traceability requirements

cost-effectiveness of sampling

characteristics of soils to be sampled and likely contaminants

materials for sampling and different types of samples

sampling tools and equipment

testing equipment and instruments

links between quality control, quality assurance, quality management systems and sampling procedures

workplace procedures dealing with legislative requirements for the handling, labelling and transport of hazardous goods

common site hazards and control measures

health, safety and environment requirements, including field safety and survival principles and high-risk sites.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of facilities, equipment and resources, including:

soil sampling equipment, field test equipment and instruments, laboratory test equipment and instruments, equipment manuals, digital camera, containers, reagents and consumables

safe work procedures and safety equipment

maps, site plans

site sampling plans and test methods

modelling of industry operating conditions, including:

access to site/s.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume Implementation Guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=5b04f318-804f-4dc0-9463-c3fb9a3fe998