# Assessment Requirements for MSTGN3017 Monitor and operate trade waste process

Release: 1

Assessment Requirements for MSTGN3017 Monitor and operate trade waste process

# Modification History

Release 1. Supersedes and is equivalent to MSTGN3007 Monitor and operate trade waste.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

operated and maintained a trade waste treatment system for at least 1 waste product, including:

conducting routine plant inspections

collecting and conducting tests of process samples

complying with organisational and statutory requirements for chemical use and waste processing

complied reports using data extracted from plant and system.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

safe work practices and procedures and use of personal protective equipment (PPE)

key requirements of Australian and industry standards, regulations and codes of practice relevant to waste product and waste disposal

Environment Protection Authority (EPA) requirements for disposing of trade waste, including licencing arrangements and types of waste that can be discharged into sewers

types of samples taken, and tests carried out on waste, and their purpose, including:

dissolved oxygen

pH

settling tests

waste processing, including:

activated sludge

biodegradable reduction

chemical precipitation

solids handling

chemical dosing processes

hazardous material handling procedures

work health and environmental aspects of relevant testing processes

monitoring systems and equipment, including:

electronic monitoring and metering systems

manual chart recording systems

laboratory testing and sampling equipment

computerised equipment

workplace recording and reporting practices.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

waste treatment plant set up with standard operating procedures (SOPs)

regulatory and organisational requirements for waste treatment.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a203ec5c-de7d-406b-b3e1-8f1a9b76e92e