# MSTMF4004 Select and adjust prefabricated medical grade footwear and accessories

Release: 1

MSTMF4004 Select and adjust prefabricated medical grade footwear and accessories

# Modification History

Release 1. Supersedes and is equivalent to LMTMF4004A Select and adjust pre-fabricated medical grade footwear and accessories

# Application

This unit of competency covers the skills and knowledge required to select and adjust prefabricated medical grade footwear and accessories. Foot conditions that apply are those of low complexity and risk.

Footwear-related medical conditions covered by this unit are those that can be assisted by medical grade footwear. Discretion, initiative and judgement may be demonstrated on the job in own work, either individually or in a team environment. Work is generally conducted in a small business situation.

Work role may include that of sole practitioner or working directly with medical grade footwear practitioners, or in a retail situation. General information may be obtained from client or other parties in relation to perceived problems with the footwear.

Application of prefabricated footwear and accessories is concerned with foot-related medical conditions that cannot be assisted by footwear available from normal retail outlets.

The extent and nature of adjustments are dependent on the specifications and client requirements.

No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Nil

# Competency Field

Medical grade footwear

# Unit Sector

Not applicable

# Elements and Performance Criteria

| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| --- | --- | --- | --- |
| 1 | Clarify assessments and prescriptions | 1.1 | Check assessments, prescriptions and referrals to confirm that all required information has been provided, as required |
|  |  | 1.2 | Consult other parties, if necessary, to clarify or provide additional information |
|  |  | 1.3 | Refer client to other medical, health and medical grade footwear practitioners, if required |
| 2 | Determine medical grade footwear requirements | 2.1 | Discuss requirements with client or others as appropriate, and reach agreement |
|  |  | 2.2 | Select appropriate range and style of prefabricated medical grade footwear and accessories |
|  |  | 2.3 | Specify construction, materials and style of prefabricated medical grade footwear to match client requirements |
|  |  | 2.4 | Order prefabricated medical grade footwear from appropriate suppliers and confirm availability within specified timelines |
| 3 | Select medical grade footwear to match client requirements | 3.1 | Select prefabricated medical grade footwear to meet client requirements |
|  |  | 3.2 | Assess mechanical, dimensional and therapeutic factors of medical grade footwear |
|  |  | 3.3 | Prepare job sheets and specifications defining adjustments and modifications to prefabricated footwear and accessories, as required |
|  |  | 3.4 | Identify and confirm costs and timelines |
|  |  | 3.5 | Determine requirements for adjustment and modification of prefabricated medical grade footwear |
|  |  | 3.6 | Use hand tools and machinery to undertake adjustments, as required |
| 4 | Undertake modification and fit of footwear and accessories | 4.1 | Arrange for fitting of prefabricated medical grade footwear and accessories |
|  |  | 4.2 | Select and fit insoles to footwear, where required |
|  |  | 4.3 | Make other modifications, as necessary, to the prefabricated medical grade footwear |
|  |  | 4.4 | Conduct administrative tasks associated with the purchase and adjustment of prefabricated medical grade footwear and related accessories |
|  |  | 4.5 | Maintain client files |

# Foundation Skills

This section describes those required skills (language, literacy and numeracy) that are essential to performance.

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

| This field allows for different work environments and conditions that may affect performance. Essential operating conditions that may be present (depending on the work situation, needs of the candidate, accessibility of the item, and local industry and regional contexts) are included. |  |
| --- | --- |
| Workplace procedures include one or more of the following: | requirements prescribed by legislation, awards, agreements and conditions of employment standard operating procedures (SOPs) work instructions oral, written and visual communication quality practices, including responsibility for maintenance of own work quality and contribution to quality improvement of team or section output housekeeping tasks related to environmental protection, waste disposal, pollution control and recycling WHS practices |
| Australian Standards include: | the relevant industry or Australian Standards that are current at the time this unit is being undertaken |
| Footwear types and adjustments include one or more of the following: | a range of styles and types (e.g. slip-on, court, boot, sandal and inner shoe) range of adjustment: on-site: fit (e.g. stretch footwear, apply insole and adjust accessory, as required) off-site: shoe repairer |
| Reasons to refer client to other practitioner include one or more of the following: | infections open wounds, including ulcers injuries or sprains suspected disease prefabricated shoe that is unlikely to attain a satisfactory outcome |
| Prefabricated medical grade footwear includes one or more of the following: | footwear with additional depth and width semi-orthopaedic footwear post-operative shoes ready-made therapeutic footwear to client measurements and requirements |
| Accessories include one or more of the following: | insoles arch supports toe buds corn pads bunion shields |
| Selection criteria for choosing medical grade footwear and accessories includes one or more of the following: | design style: court, boot, rigid, flexible and low trim line size: to specific benchmarks, such as width, length, toe angle and arch structure: heel height and width, counter stability and sole flexibility features: for individual needs and use, e.g. cushion sole function: fit, walk and stairs |
| WHS practices | WHS practices must include hazard identification and control, risk assessment and implementation of risk reduction measures specific to the tasks described by this unit, and include one or more of the following: manual handling techniques SOPs personal protective equipment (PPE) safe materials handling taking of rest breaks ergonomic arrangement of workplaces following marked walkways safe storage of equipment housekeeping reporting accidents and incidents other WHS practices relevant to the job and enterprise |

# Unit Mapping Information

Release 1. Supersedes and is equivalent to LMTMF4004A Select and adjust pre-fabricated medical grade footwear and accessories

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a203ec5c-de7d-406b-b3e1-8f1a9b76e92e