# Assessment Requirements for MSTMF4008 Produce negative and positive casts for lasts and corrective orthoses

Release: 1

Assessment Requirements for MSTMF4008 Produce negative and positive casts for lasts and corrective orthoses

# Modification History

Release 1. Supersedes and is equivalent to LMTMF6004A Produce negative and positive casts for lasts and/or corrective orthoses.

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

produced one negative cast for a corrective orthosis, and one positive cast from a last for a corrective orthosis to suit client needs.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

elements and principles of orthoses and medical grade footwear design and how they are used to meet specified requirements

applied anthropometrics of the foot, including the variables in and effects of physical force systems on the body, and other physical characteristics of commercial orthoses and footwear

fabrication tools and techniques used to manufacture cast devices, including:

hand and machine methods

computer-aided processes

mechanical duplicators

pour techniques

combinations of the above processes

materials used to manufacture casts, including:

plaster

wood

thermoset resin

expandable foams

casting polyurethane

diagnostic and definitive orthoses constructions

modification processes to adjust and refine orthoses

safe work practices associated with producing casts and lasts

general housekeeping policies and procedures, including cleaning agents and equipment used with orthoses.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a workspace used to produce casts for lasts and orthoses using hand and machine-based techniques

safety equipment and standard operating procedures

modelling of industry operating conditions, including access to clients.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a203ec5c-de7d-406b-b3e1-8f1a9b76e92e