# Assessment Requirements for MSTMF4011 Produce corrective orthoses

Release: 1

Assessment Requirements for MSTMF4011 Produce corrective orthoses

# Modification History

Release 1. Supersedes and is equivalent to LMTMF6007A Produce corrective orthoses

# Performance Evidence

There must be evidence the candidate has completed the tasks outlined in the elements and performance criteria of this unit, and:

produced two corrective orthoses for different clients with different needs.

# Knowledge Evidence

There must be evidence the candidate has knowledge of:

elements and principles of medical grade orthoses and footwear design and how orthoses are used to meet specified requirements

applied anthropometrics of the foot, including the variables in, and effects of physical force systems on the body, and other physical characteristics of commercial orthoses and footwear

effects of different types of corrective orthoses on the foot, ankle, leg and pelvic and lower back functions

footwear and component construction methods and standards used to produce and modify corrective orthoses to meet specifications, including:

diagnostic and definitive constructions

hand and machine-based techniques

product and testing quality standards

corrective orthoses inclusions:

removable inserts

incorporated ankle-foot orthoses (AFO)

shoes

post-operative

therapy footwear

corrective orthoses materials typically used to produce corrective orthoses:

rubber

ethyl vinyl acetate (EVA) and polyurethane foams

PVC resins

plastics

vacuum moulding and laminating carbon glass

Kevlar fibre

requirements and consequences of corrective orthoses factors, including:

biomechanical requirements

volume expansion

functional and positioning

approaches to problems that require corrective posting or support of foot and ankle:

drop foot splint

arthrodesis inner shoe to stabilise foot or ankle complex and exclude movement

solutions to correct excessive rear foot pronation

procedures to translate information into working patterns

cast check requirements

administrative functions related to the construction of corrective orthoses

legal, ethical and work health and safety (WHS) requirements associated with producing footwear and orthoses.

# Assessment Conditions

Skills must have been demonstrated in the workplace or in a simulated environment that reflects workplace conditions and contingencies. The following conditions must be met for this unit:

use of suitable facilities, equipment and resources, including:

a workspace used to produce and adjust orthoses using hand and machine-based techniques

safety equipment and standard operating procedures

modelling of industry operating conditions, including access to clients.

Assessors must satisfy the NVR/AQTF mandatory competency requirements for assessors.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=a203ec5c-de7d-406b-b3e1-8f1a9b76e92e