# NWPCAD003 Identify and confirm blue-green algae outbreaks

Release: 1

NWPCAD003 Identify and confirm blue-green algae outbreaks

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to identify and confirm blue-green algae outbreaks. It includes confirming and conducting algae sampling, preparing samples for testing, identifying and enumerating blue-green algae. It also includes completing documentation. This unit applies to those working as operational staff with a specific responsibility for ensuring that water and/or wastewater quality conforms to organisational standards and complies with statutory requirements. Those undertaking this unit would work under appropriate supervision, while performing routine tasks within a familiar context. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Catchment and Dams

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Confirm and conduct algae sampling | 1.1 | Determine work requirements for identifying and confirming algae outbreaks in line with specifications and instructions |
|  |  | 1.2 | Select and prepare sampling equipment according to specified samples required |
|  |  | 1.3 | Select, fit and use personal protective equipment |
|  |  | 1.4 | Perform algae sampling according to workplace procedures |
|  |  | 1.5 | Maintain integrity of samples during sampling and testing |
|  |  | 1.6 | Label samples according to workplace procedures |
| 2 | Receive and prepare samples for testing | 2.1 | Receive, handle and prepare samples for testing according to workplace procedures |
|  |  | 2.2 | Prepare and check testing equipment for blue-green algae identification and enumeration |
|  |  | 2.3 | Handle algae samples using correct safety procedures |
| 3 | Identify and enumerate blue-green algae | 3.1 | Conduct microscopic examination of algae sample according to workplace procedures |
|  |  | 3.2 | Determine number of cells and calculate cell concentration |
| 4 | Complete documentation | 4.1 | Complete data report of the blue-green algae test results |
|  |  | 4.2 | Identify and report observations outside defined parameters to relevant personnel for further action |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPSOU003 Identify and confirm blue-green algae outbreaks.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037