# NWPCAD005 Monitor, inspect and report catchment areas

Release: 1

NWPCAD005 Monitor, inspect and report catchment areas

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to monitor, inspect and report catchment areas. It includes monitoring flows, coordinating catchment areas and collecting data and samples. It also includes monitoring and adjusting regulatory systems, identifying and investigating catchment problems and producing reports. This unit applies to field staff with a specific responsibility for inspecting, monitoring and reporting catchment areas. Those undertaking this unit would work under appropriate supervision while performing routine tasks ensuring minimum damage to the environment, in a familiar context. The level of responsibility may vary according to the size and complexity of the catchment area. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Catchment and Dams

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Inspect and monitor catchment areas | 1.1 | Identify and apply work requirements for undertaking inspections of catchments and surrounding areas |
|  |  | 1.2 | Schedule routine inspections of catchment areas to identify water quality risks |
|  |  | 1.3 | Inspect and monitor designated locations according to work schedule and workplace procedures |
|  |  | 1.4 | Inspect flow regulating systems and adjust to meet demand |
|  |  | 1.5 | Select, fit and use safety equipment, including personal protective equipment |
| 2 | Operate and report catchment conditions | 2.1 | Measure and record catchment inflows and outflows or extractions |
|  |  | 2.2 | Collect and record water samples according to sampling requirements |
|  |  | 2.3 | Identify organisational guidelines for the condition and maintenance of catchment environment |
|  |  | 2.4 | Identify changes to environmental conditions outside of normal parameters and report to relevant personnel for further action |
| 3 | Assist in investigating hazards, risks and catchment security | 3.1 | Identify and report activities within catchment posing a hazard or risk to the public, water quality or the environment |
|  |  | 3.2 | Identify and report activities of external parties within catchment and surrounding area breaching organisational guidelines |
|  |  | 3.3 | Check and confirm public concerns and report to relevant personnel |
| 4 | Complete documentation | 4.1 | Identify and collect catchment data |
|  |  | 4.2 | Compile reports from catchment inspections according to workplace procedures |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPSOU012 Monitor, inspect and report catchment operations.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037