# NWPCAD012 Route floods through storages

Release: 1

NWPCAD012 Route floods through storages

# Modification History

Release 1. This is the first release of this unit of competency in the NWP National Water Training Package.

# Application

This unit involves the skills and knowledge required to route floods through storages. It includes managing and conducting surveillance of catchment run-off through dams and other water storage assets, operating flow control infrastructure and ancillary equipment for dam/storage operations and flood routing. This unit applies to those working as field and operational staff with a specific responsibility for the operation of dams and other water storage assets. Those undertaking this unit would work under appropriate supervision, while performing routine tasks in a familiar context, ensuring minimum damage to the environment. No licensing, legislative or certification requirements apply to this unit at the time of publication.

# Pre-requisite Unit

Not applicable.

# Competency Field

Catchment and Dams

# Unit Sector

Not applicable.

# Elements and Performance Criteria

| ELEMENTS |  | PERFORMANCE CRITERIA |  |
| --- | --- | --- | --- |
| Elements describe the essential outcomes. |  | Performance criteria describe the performance needed to demonstrate achievement of the element. |  |
| 1 | Monitor flow and flood routing | 1.1 | Monitor catchment behaviour during normal and flood conditions according to workplace procedures |
|  |  | 1.2 | Determine outflows and inflows using standard flow rate calculations |
|  |  | 1.3 | Determine flow control settings based on flow rate calculations and rating tables |
| 2 | Prepare for dam or storage operation | 2.1 | Conduct inspections of dams and relevant assets during floods |
|  |  | 2.2 | Develop a hydrograph template for each new event according to workplace procedures |
|  |  | 2.3 | Conduct risk assessment and identify hazards |
| 3 | Implement dam or water storage operation plans | 3.1 | Apply operation plans according to workplace procedures |
|  |  | 3.2 | Provide flood warnings according to workplace procedures |
|  |  | 3.3 | Inspect and test plant and equipment |
|  |  | 3.4 | Test, assess and document safety mechanisms |
| 4 | Regulate flows | 4.1 | Plot flood data on hydrograph template according to workplace procedures |
|  |  | 4.2 | Regulate flow control mechanisms to maintain safety of asset and required system supply and flood routing |
|  |  | 4.3 | Produce data relating to flood performance and report to relevant personnel |

# Foundation Skills

Foundation skills essential to performance are explicit in the performance criteria of this unit of competency.

# Range of Conditions

Range is restricted to essential operating conditions and any other variables essential to the work environment. Non-essential conditions may be found in the Companion Volume Implementation Guide.

# Unit Mapping Information

This unit replaces and is equivalent to NWPSOU027 Route floods through storages.

# Links

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037

Companion Volume implementation guides are found in VETNet - https://vetnet.gov.au/Pages/TrainingDocs.aspx?q=26336bc0-04e5-49d9-8c31-46c49b6a0037